## Constants
SYSTEM REQUIREMENTS
| Daily average demand | 19.7 | kWh per day
| Available Roofspace | 10 | m^2
| PART LIST | [8 empty] | Solar cells output density is already limited by the physics (expect neglegible advancements in future)
Type | Part | Cost |  | Salvage value |  | Performance |  | CCA
Panels | Type A | 1 | per W | 0 | per W | 100 | W per m^2 | 43 | 30% | Performance degrades 0.5%/year
| Type B | 2 | per W | 0 | per W | 200 | W per m^2 | 43 | 30% | Failure rate of 0.05% |  |  | Usually solar warranty of 25 years (free replacement til then)
| Type C | 3 | per W | 0 | per W | 300 | W per m^2 | 43 | 30% | Mounting configuration angles
Mounts | Fast rack |  | per m^2 | [6 empty] | Angle | Performance decrease
| Adjustable angle | [8 empty] | 90 | 0%
[10 empty] | 53 | 0.8%
| Rule of thumb energy density | 12 | W per sqft | [6 empty] | 45 | 1.7%
[10 empty] | 27 | 4%
[10 empty] | 18 | 4.7%
[10 empty] | 14 | 4.5%
Soiling and Cleaning
[10 empty] | Cleaning frequency | Performance decrease
[10 empty] | Annual | 2% |  | <- we can model it linearly at 2% per year
[10 empty] | Average | 5% |  | <- clean every 1 year or 5 years
[10 empty] | Significant | 10%
[10 empty] | Cleaning cost | 10 | per m^2

## Parts
Mounting Calculations

## Sheet2
Information
MicroFIT | http://www.ieso.ca/get-involved/microfit/news-overview
for generating over 10kW of energy
https://kubyenergy.ca/blog/the-cost-of-solar-panels
City of edmonton rebate
https://kubyenergy.ca/blog/edmonton-solar-power-rebate
Alberta rebate
https://kubyenergy.ca/blog/alberta-residential-and-commercial-solar-power-rebate
Change for climate resources
https://www.edmonton.ca/city_government/documents/PDF/HomeGuide-web.pdf
http://ace.edmonton.ca/energuide/guides/
https://changeforclimate.ca/programs
https://www.edmonton.ca/city_government/environmental_stewardship/solar-energy.aspx
https://www.edmonton.ca/city_government/documents/PDF/TinyExplanation-SolarInEdm.pdf
Source of capital
| https://kubyenergy.ca/how-much-do-solar-panels-cost | Options: cash or loan
Solar cost and efficiency over time
| https://news.energysage.com/solar-panel-efficiency-cost-over-time/ |  | 2018 | 2008 | growth rate
| https://en.wikipedia.org/wiki/Solar_cell_efficiency |  | 35.5% | 32% | 1.16%
| Solar price index |  | 2018 | 35.5%
| https://www.pv-magazine.com/features/investors/module-price-index/ |  | 2028 | 39.84%
|  |  | 2038 | 44.71%
|  |  | 2048 | 50.18%
|  |  | 2058 | 56.31% | <- eff in 2058