## Constants
SYSTEM REQUIREMENTS
| Daily average demand | 22.7 | kWh per day
| Available Roofspace | 10 | m^2
| Roof pitch | 35 | deg
PART LIST
Type | Part | Cost |  | Salvage value |  | Performance |  | CCA
Panels | Type A | 1.5 | per W | 0 | per W | 100 | W per m^2 | 43 | 30%
| Type B | 1.75 | per W | 0 | per W | 200 | W per m^2 | 43 | 30%
| Type C | 2 | per W | 0 | per W | 300 | W per m^2 | 43 | 30% | Mounting configuration angles
Mounts | Fast rack |  | per m^2 | [6 empty] | Angle | Performance decrease
| Adjustable angle | [8 empty] | 90 | 0%
[10 empty] | 53 | 0.8%
| Rule of thumb energy density | 12 | W per sqft | [6 empty] | 45 | 1.7%
[10 empty] | 35 | 3%
| Performance degration | 0.5% | per year | [6 empty] | 27 | 4%
| Failure rate | 0.05% | per year | Usually solar warranty of 25 years (free replacement til then) | [5 empty] | 18 | 4.7%
|  | 400 | years | [6 empty] | 14 | 4.5%
Soiling and Cleaning
[10 empty] | Cleaning frequency | Performance decrease
[10 empty] | Annual | 2% |  | <- we can model it linearly at 2% per year
[10 empty] | Average | 5% |  | <- clean every 1 year or 5 years
[10 empty] | Significant | 10%
[10 empty] | Cleaning cost | 10 | per m^2
| Inflation Rate | 2%
| ATCF Nominal MARR | 3%
|  | Accounting for inflation rate and other factors | [7 empty] | Cost of installation breakdown |  |  |  | 10000 | 4kW | 3000 | per kW
| Tax rate | 10% | https://www.canada.ca/en/revenue-agency/services/tax/businesses/topics/corporations/corporation-tax-rates.html | https://en.wikipedia.org/wiki/Canada_small_business_tax_rate | [5 empty] | https://kubyenergy.ca/blog/the-cost-of-solar-panels |  |  |  | 16000 | 6kW
| Sales Tax | 5% | [7 empty] | PV panels | 35% |  |  | 46000 | 16kW
[10 empty] | Inverters | 20%
| Solar technician sallary | 24 | per hour | https://ca.indeed.com/Solar-Technician-jobs-in-Ontario?vjk=37ca25b9096f3721 | [5 empty] | Racking & Electrical | 23%
|  |  |  | https://work.chron.com/pay-scale-solar-energy-technician-19567.html | [5 empty] | Engineering/Design | 4%
[10 empty] | Permitting | 2%

## Configurations
Configuration A
DIY
Parts List
Part | Qty. | Cost ea. | Cost | CCA class | Depreciation | Salvage | Replacement Period | Specifications
PV panels | 4 | 238 | 952 | 43 | 30% | 30 | R/A | 100 | W/panel
Charge controller | 1 | 150 | 150 | 43 | 30% | 0 | 5
Inverter | 1 | 539.5 | 539.5 | 43 | 30% | 0 | 5 | 1800 | W
Battery | 8 | 26 | 208 | 43 | 30% | 0 | 5 | 96 | Wh/battery
Installation |  |  |  | Maintanance | 897.5
Installation time | 3 | hours |  | Salvage | 120
Parts | 1849.5
Sales tax | 92.475
Installation | 72
Total | 2013.975
Performance
Wattage | 400 | W
Note on H6: Muchen He: https://ases.conference-services.net/resources/252/2859/pdf/SOLAR2012_0783_full%20paper.pdf
Note on I7: Muchen He: https://www.solarpaneltalk.com/forum/solar-power-lighting/solar-lighting-for-homes-and-gardens/14683-lifespan-of-solar-charger-solar-controller-and-battery-agm-sla

## Grid Power
| Electricity Cost | [8 empty] | Peak Probability |  |  | Sources:
| Year | Off-peak | Mid-peak | On-peak | Electricity | Transmission | Distribution | Admin Fees | Total | Off-peak | 50% |  | https://www.oeb.ca/rates-and-your-bill/electricity-rates/historical-electricity-rates
|  | [$/kWh] | [$/kWh] | [$/kWh] | [$/kWh] | [$/kWh] | [$/kWh] | [$/kWh] | [$/kWh] | Mid-peak | 25% |  | https://www.powerstream.ca/customers/rates-support-programs/time-of-use-pricing.html
Historical | 2006 | 0.035 | 0.075 | 0.105 | 0.0625 | no data |  |  |  | On-peak | 25% |  | https://www.aeso.ca/assets/Uploads/TRP-Factsheet-2018.pdf
| 2007 | 0.032 | 0.072 | 0.092 | 0.057
| 2008 | 0.027 | 0.073 | 0.093 | 0.055 |  |  |  |  | Relative Costs
| 2009 | 0.042 | 0.076 | 0.091 | 0.06275 |  |  |  |  | Transmission | 16.8%
| 2010 | 0.053 | 0.08 | 0.099 | 0.07125 |  |  |  |  | Distribution | 13%
| 2011 | 0.059 | 0.089 | 0.107 | 0.0785 |  |  |  |  | Admin | 5%
| 2012 | 0.065 | 0.1 | 0.117 | 0.08675
| 2013 | 0.067 | 0.104 | 0.124 | 0.0905 |  |  |  |  | Cost Increase
| 2014 | 0.075 | 0.112 | 0.135 | 0.09925 |  |  |  |  | Electricity Increase | 5.1% | per year
| 2015 | 0.08 | 0.122 | 0.161 | 0.11075 |  |  |  |  | Transmission Increase | 2.2% | per year
| 2016 | 0.087 | 0.132 | 0.18 | 0.1215
| 2017 | 0.077 | 0.113 | 0.157 | 0.106
| 2018 | 0.065 | 0.094 | 0.132 | 0.089 | 0.014952 | 0.008125 | 0.00445 | 0.11653
Projected | 2019 | 0.068315 | 0.098794 | 0.13873 | 0.093539 | 0.015281 | 0.0083038 | 0.004677 | 0.1218
| 2020 | 0.071799 | 0.10383 | 0.14581 | 0.098309 | 0.015617 | 0.0084864 | 0.0049155 | 0.12733
| 2021 | 0.075461 | 0.10913 | 0.15324 | 0.10332 | 0.015961 | 0.0086731 | 0.0051662 | 0.13312
| 2022 | 0.079309 | 0.11469 | 0.16106 | 0.10859 | 0.016312 | 0.0088639 | 0.0054296 | 0.1392
| 2023 | 0.083354 | 0.12054 | 0.16927 | 0.11413 | 0.016671 | 0.0090589 | 0.0057065 | 0.14557
| 2024 | 0.087605 | 0.12669 | 0.17791 | 0.11995 | 0.017037 | 0.0092582 | 0.0059976 | 0.15224
| 2025 | 0.092073 | 0.13315 | 0.18698 | 0.12607 | 0.017412 | 0.0094619 | 0.0063035 | 0.15925
| 2026 | 0.096769 | 0.13994 | 0.19651 | 0.1325 | 0.017795 | 0.0096701 | 0.0066249 | 0.16659
| 2027 | 0.1017 | 0.14708 | 0.20654 | 0.13926 | 0.018187 | 0.0098828 | 0.0069628 | 0.17429
| 2028 | 0.10689 | 0.15458 | 0.21707 | 0.14636 | 0.018587 | 0.0101 | 0.0073179 | 0.18236
| 2029 | 0.11234 | 0.16246 | 0.22814 | 0.15382 | 0.018996 | 0.010322 | 0.0076911 | 0.19083
| 2030 | 0.11807 | 0.17075 | 0.23978 | 0.16167 | 0.019414 | 0.01055 | 0.0080834 | 0.19971
| 2031 | 0.12409 | 0.17946 | 0.25201 | 0.16991 | 0.019841 | 0.010782 | 0.0084956 | 0.20903
| 2032 | 0.13042 | 0.18861 | 0.26486 | 0.17858 | 0.020277 | 0.011019 | 0.0089289 | 0.2188
| 2033 | 0.13707 | 0.19823 | 0.27837 | 0.18769 | 0.020723 | 0.011261 | 0.0093843 | 0.22905
| 2034 | 0.14406 | 0.20834 | 0.29256 | 0.19726 | 0.021179 | 0.011509 | 0.0098629 | 0.23981
| 2035 | 0.15141 | 0.21896 | 0.30748 | 0.20732 | 0.021645 | 0.011762 | 0.010366 | 0.25109
| 2036 | 0.15913 | 0.23013 | 0.32316 | 0.21789 | 0.022122 | 0.012021 | 0.010895 | 0.26293
| 2037 | 0.16725 | 0.24187 | 0.33965 | 0.229 | 0.022608 | 0.012285 | 0.01145 | 0.27535
| 2038 | 0.17578 | 0.2542 | 0.35697 | 0.24068 | 0.023106 | 0.012556 | 0.012034 | 0.28838
| 2039 | 0.18474 | 0.26717 | 0.37517 | 0.25296 | 0.023614 | 0.012832 | 0.012648 | 0.30205
| 2040 | 0.19417 | 0.28079 | 0.39431 | 0.26586 | 0.024133 | 0.013114 | 0.013293 | 0.3164
| 2041 | 0.20407 | 0.29511 | 0.41442 | 0.27942 | 0.024664 | 0.013403 | 0.013971 | 0.33145
| 2042 | 0.21448 | 0.31017 | 0.43555 | 0.29367 | 0.025207 | 0.013698 | 0.014683 | 0.34725
| 2043 | 0.22541 | 0.32598 | 0.45776 | 0.30864 | 0.025762 | 0.013999 | 0.015432 | 0.36384
| 2044 | 0.23691 | 0.34261 | 0.48111 | 0.32438 | 0.026328 | 0.014307 | 0.016219 | 0.38124
| 2045 | 0.24899 | 0.36008 | 0.50565 | 0.34093 | 0.026908 | 0.014622 | 0.017046 | 0.3995
| 2046 | 0.26169 | 0.37845 | 0.53143 | 0.35832 | 0.027499 | 0.014943 | 0.017916 | 0.41867
| 2047 | 0.27504 | 0.39775 | 0.55854 | 0.37659 | 0.028104 | 0.015272 | 0.018829 | 0.4388
| 2048 | 0.28906 | 0.41803 | 0.58702 | 0.3958 | 0.028723 | 0.015608 | 0.01979 | 0.45992
| 2049 | 0.30381 | 0.43935 | 0.61696 | 0.41598 | 0.029355 | 0.015951 | 0.020799 | 0.48209
| 2050 | 0.3193 | 0.46176 | 0.64843 | 0.4372 | 0.03 | 0.016302 | 0.02186 | 0.50536
| 2051 | 0.33559 | 0.48531 | 0.6815 | 0.45949 | 0.03066 | 0.016661 | 0.022975 | 0.52979
| 2052 | 0.3527 | 0.51006 | 0.71625 | 0.48293 | 0.031335 | 0.017028 | 0.024146 | 0.55544
| 2053 | 0.37069 | 0.53607 | 0.75278 | 0.50756 | 0.032024 | 0.017402 | 0.025378 | 0.58236
| 2054 | 0.38959 | 0.56341 | 0.79117 | 0.53344 | 0.032729 | 0.017785 | 0.026672 | 0.61063
| 2055 | 0.40946 | 0.59215 | 0.83152 | 0.56065 | 0.033449 | 0.018176 | 0.028032 | 0.64031
| 2056 | 0.43034 | 0.62234 | 0.87393 | 0.58924 | 0.034185 | 0.018576 | 0.029462 | 0.67146
| 2057 | 0.45229 | 0.65408 | 0.9185 | 0.61929 | 0.034937 | 0.018985 | 0.030965 | 0.70418
| 2058 | 0.47536 | 0.68744 | 0.96535 | 0.65088 | 0.035706 | 0.019403 | 0.032544 | 0.73853

## Weather
Sunny | 50.3% | of daylight
Cloudy | 25% | of daylight
Overcast | 24.7% | of daylight
Month | Daylight | Sunlight | Cloudy | Overcast | Effective
| [hours] | [hours] | [hours] | [hours] | [hours]
1 | 219.15 | 110.2325 | 54.7875 | 54.1301 | 148.255
2 | 238.72 | 120.0762 | 59.68 | 58.9638 | 161.4941
3 | 292.2 | 146.9766 | 73.05 | 72.1734 | 197.6733
4 | 365.25 | 183.7208 | 91.3125 | 90.2168 | 247.0916
5 | 438.3 | 220.4649 | 109.575 | 108.2601 | 296.51
6 | 491.78 | 247.3653 | 122.945 | 121.4697 | 332.6892
7 | 511.35 | 257.209 | 127.8375 | 126.3034 | 345.9283
8 | 491.78 | 247.3653 | 122.945 | 121.4697 | 332.6892
9 | 438.3 | 220.4649 | 109.575 | 108.2601 | 296.51
10 | 365.25 | 183.7208 | 91.3125 | 90.2168 | 247.0916
11 | 292.2 | 146.9766 | 73.05 | 72.1734 | 197.6733
12 | 238.72 | 120.0762 | 59.68 | 58.9638 | 161.4941
Solar Performance |  | 85% | 65% | 35%

## Consumption
Yearly Aveage | 8300 | kWh
Fluctuation | 10%
Monthly Fluct. | 69.1667 | kWh
Monthly Offset | 691.67 | kWh
Consumption
Month | Uniform | Model
1 | 691.6667 | 751.5701
2 | 691.6667 | 726.2533
3 | 691.6667 | 691.67
4 | 691.6667 | 657.0867
5 | 691.6667 | 631.7699
6 | 691.6667 | 622.5033
7 | 691.6667 | 631.7699
8 | 691.6667 | 657.0867
9 | 691.6667 | 691.67
10 | 691.6667 | 726.2533
11 | 691.6667 | 751.5701
12 | 691.6667 | 760.8367
Yearly | 8300 | 8300.04 | kWh

## Incentives
Government Incentives to reward renewable energy
Installation rebates
Alberta | 0.75 | per W | Lesser of: | 30% | of installation or | 10000
Edmonton | 0.15 | per W
Power payback | 0.08 | per kW

## Analysis (Nothing)
Year | Usage | Energy cost | Energy Cost |  |  | NPV |  | https://callmepower.ca/en/ab/electricity/cost/averages-house-apartment-condo
| [kWh] | [$] | [$ nominal] | Period | [$] | [$ nominal]
0 | 0 | 0 | 0 | 5 years | 5057.566 | 4764.8942 | In losses
1 | 8300.04 | 1010.9502 | 991.1277 | 20 years | 22837.9896 | 18478.4102 | In losses
2 | 8300.04 | 1056.8318 | 1015.7937 | 40 years | 54766.1225 | 35844.1903 | In losses
3 | 8300.04 | 1104.9285 | 1041.1988
4 | 8300.04 | 1155.3504 | 1067.3652 | EAUC
5 | 8300.04 | 1208.2135 | 1094.3162 | Period | [$]
6 | 8300.04 | 1263.6392 | 1122.0755 | 5 years | 1040.4364
7 | 8300.04 | 1321.7554 | 1150.6676 | 20 years | 1242.0394
8 | 8300.04 | 1382.6963 | 1180.118 | 40 years | 1550.7049
9 | 8300.04 | 1446.6028 | 1210.4525
10 | 8300.04 | 1513.6232 | 1241.6982
11 | 8300.04 | 1583.9129 | 1273.8826
12 | 8300.04 | 1657.6355 | 1307.0343
13 | 8300.04 | 1734.9627 | 1341.1826
14 | 8300.04 | 1816.0749 | 1376.3578
15 | 8300.04 | 1901.1617 | 1412.5912
16 | 8300.04 | 1990.4222 | 1449.9147
17 | 8300.04 | 2084.0656 | 1488.3616
18 | 8300.04 | 2182.3117 | 1527.966
19 | 8300.04 | 2285.3915 | 1568.763
20 | 8300.04 | 2393.5475 | 1610.7888
21 | 8300.04 | 2507.0347 | 1654.0809
22 | 8300.04 | 2626.1209 | 1698.6775
23 | 8300.04 | 2751.0875 | 1744.6184
24 | 8300.04 | 2882.2302 | 1791.9444
25 | 8300.04 | 3019.8595 | 1840.6976
26 | 8300.04 | 3164.302 | 1890.9213
27 | 8300.04 | 3315.9004 | 1942.6602
28 | 8300.04 | 3475.0152 | 1995.9603
29 | 8300.04 | 3642.0249 | 2050.8691
30 | 8300.04 | 3817.3274 | 2107.4353
31 | 8300.04 | 4001.3406 | 2165.7095
32 | 8300.04 | 4194.5038 | 2225.7434
33 | 8300.04 | 4397.2783 | 2287.5905
34 | 8300.04 | 4610.1491 | 2351.3059
35 | 8300.04 | 4833.6258 | 2416.9464
36 | 8300.04 | 5068.2437 | 2484.5704
37 | 8300.04 | 5314.5653 | 2554.2382
38 | 8300.04 | 5573.1819 | 2626.0119
39 | 8300.04 | 5844.7145 | 2699.9555
40 | 8300.04 | 6129.8159 | 2776.1349

## Analysis (A)
Configuration A
DIY
|  |  | Year | Power |  |  | Cost |  |  | Benefits |  | Tax and Depreciation
One Year Power Estimate |  |  |  | Solar efficiency | Solar | Grid | Power Cost | Installation | Maintainance | Rebate | Buyback | Cashflow | Relative Benefit | UCC Change | CCA | Book Val. | Taxable Income | Tax | Net Profit | Net CF
Month | Generated |  |  |  | [kWh] | [kWh] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$ nominal]
1 | 57522.9303 | Wh | 0 | 100% | 0 | 0 | 0 | 2013.975 | 0 | 360 | 0 | -1653.975 | -1653.975 | 1006.9875 | 0 | 1006.9875 | 0 | 0 | -1653.975 | -1653.975 | 3.259%
2 | 62659.703 | Wh | 1 | 99.5% | 1144.7063 | 7155.2937 | 871.5194 | 0 | 0 | 0 | 0 | -871.5194 | 139.4308 | 1006.9875 | 302.0962 | 1711.8787 | 0 | 0 | 139.4308 | 136.6969 | 5.324% | 105.3%
3 | 76697.2404 | Wh | 2 | 99% | 1138.9828 | 7161.0172 | 911.8017 | 0 | 0 | 0 | 0 | -911.8017 | 145.0301 | 0 | 513.5636 | 1198.3151 | 0 | 0 | 145.0301 | 139.3984 |  | 102%
4 | 95871.5505 | Wh | 3 | 98.51% | 1133.2879 | 7166.7121 | 954.0562 | 0 | 0 | 0 | 0 | -954.0562 | 150.8723 | 0 | 359.4945 | 838.8206 | 0 | 0 | 150.8723 | 142.1704 |  | 3.259%
5 | 115045.8606 | Wh | 4 | 98.01% | 1127.6214 | 7172.3786 | 998.382 | 0 | 0 | 0 | 0 | -998.382 | 156.9684 | 0 | 251.6462 | 587.1744 | 0 | 0 | 156.9684 | 145.0146
6 | 129083.398 | Wh | 5 | 97.52% | 1121.9833 | 7178.0167 | 1044.8837 | 0 | 897.5 | 0 | 0 | -1942.3837 | -734.1702 | 448.75 | 176.1523 | 859.7721 | 0 | 0 | -734.1702 | -664.9606 |  | We can compute the real IRR, then find the market IRR
7 | 134220.1707 | Wh | 6 | 97.04% | 1116.3734 | 7183.6266 | 1093.6709 | 0 | 0 | 0 | 0 | -1093.6709 | 169.9683 | 448.75 | 257.9316 | 1050.5905 | 0 | 0 | 169.9683 | 150.927
8 | 129083.398 | Wh | 7 | 96.55% | 1110.7915 | 7189.2085 | 1144.859 | 0 | 0 | 0 | 0 | -1144.859 | 176.8964 | 0 | 315.1771 | 735.4133 | 0 | 0 | 176.8964 | 153.999
9 | 115045.8606 | Wh | 8 | 96.07% | 1105.2376 | 7194.7624 | 1198.5691 | 0 | 0 | 0 | 0 | -1198.5691 | 184.1272 | 0 | 220.624 | 514.7893 | 0 | 0 | 184.1272 | 157.1508
10 | 95871.5505 | Wh | 9 | 95.59% | 1099.7114 | 7200.2886 | 1254.9286 | 0 | 0 | 0 | 0 | -1254.9286 | 191.6742 | 0 | 154.4368 | 360.3525 | 37.2374 | 3.7237 | 187.9505 | 157.2685
11 | 76697.2404 | Wh | 10 | 95.11% | 1094.2128 | 7205.7872 | 1314.0715 | 0 | 897.5 | 0 | 0 | -2211.5715 | -697.9484 | 448.75 | 108.1058 | 700.9968 | 0 | 0 | -697.9484 | -572.5608
12 | 62659.703 | Wh | 11 | 94.64% | 1088.7418 | 7211.2582 | 1376.1385 | 0 | 0 | 0 | 0 | -1376.1385 | 207.7744 | 448.75 | 210.299 | 939.4477 | 0 | 0 | 207.7744 | 167.1052
Total | 1150.4586 | kWh | 12 | 94.16% | 1083.2981 | 7216.7019 | 1441.2776 | 0 | 0 | 0 | 0 | -1441.2776 | 216.3579 | 0 | 281.8343 | 657.6134 | 0 | 0 | 216.3579 | 170.5968
|  |  | 13 | 93.69% | 1077.8816 | 7222.1184 | 1509.6441 | 0 | 0 | 0 | 0 | -1509.6441 | 225.3186 | 0 | 197.284 | 460.3294 | 28.0346 | 2.8035 | 222.5152 | 172.0115
|  |  | 14 | 93.22% | 1072.4922 | 7227.5078 | 1581.4015 | 0 | 0 | 0 | 0 | -1581.4015 | 234.6734 | 0 | 138.0988 | 322.2306 | 96.5746 | 9.6575 | 225.016 | 170.534
|  |  | 15 | 92.76% | 1067.1297 | 7232.8703 | 1656.7217 | 0 | 897.5 | 0 | 0 | -2554.2217 | -653.06 | 448.75 | 96.6692 | 674.3114 | 0 | 0 | -653.06 | -485.2332
|  |  | 16 | 92.29% | 1061.7941 | 7238.2059 | 1735.7851 | 0 | 0 | 0 | 0 | -1735.7851 | 254.6371 | 448.75 | 202.2934 | 920.768 | 52.3437 | 5.2344 | 249.4027 | 181.6764
|  |  | 17 | 91.83% | 1056.4851 | 7243.5149 | 1818.7816 | 0 | 0 | 0 | 0 | -1818.7816 | 265.284 | 0 | 276.2304 | 644.5376 | 0 | 0 | 265.284 | 189.4559
|  |  | 18 | 91.37% | 1051.2027 | 7248.7973 | 1905.9107 | 0 | 0 | 0 | 0 | -1905.9107 | 276.401 | 0 | 193.3613 | 451.1763 | 83.0397 | 8.304 | 268.097 | 187.7106
|  |  | 19 | 90.92% | 1045.9466 | 7254.0534 | 1997.3821 | 0 | 0 | 0 | 0 | -1997.3821 | 288.0093 | 0 | 135.3529 | 315.8234 | 152.6564 | 15.2656 | 272.7437 | 187.2197
|  |  | 20 | 90.46% | 1040.7169 | 7259.2831 | 2093.4163 | 0 | 897.5 | 0 | 0 | -2990.9163 | -597.3688 | 448.75 | 94.747 | 669.8264 | 0 | 0 | -597.3688 | -402.0121
|  |  | 21 | 90.01% | 1035.5133 | 7264.4867 | 2194.2448 | 0 | 0 | 0 | 0 | -2194.2448 | 312.7898 | 448.75 | 200.9479 | 917.6285 | 111.8419 | 11.1842 | 301.6056 | 198.9921
|  |  | 22 | 89.56% | 1030.3358 | 7269.6642 | 2300.1115 | 0 | 0 | 0 | 0 | -2300.1115 | 326.0094 | 0 | 275.2885 | 642.3399 | 50.7209 | 5.0721 | 320.9373 | 207.5948
|  |  | 23 | 89.11% | 1025.1841 | 7274.8159 | 2411.2721 | 0 | 0 | 0 | 0 | -2411.2721 | 339.8154 | 0 | 192.702 | 449.638 | 147.1134 | 14.7113 | 325.104 | 206.1666
|  |  | 24 | 88.67% | 1020.0582 | 7279.9418 | 2527.996 | 0 | 0 | 0 | 0 | -2527.996 | 354.2342 | 0 | 134.8914 | 314.7466 | 219.3428 | 21.9343 | 332.2999 | 206.598
|  |  | 25 | 88.22% | 1014.9579 | 7285.0421 | 2650.566 | 0 | 897.5 | 0 | 0 | -3548.066 | -528.2065 | 448.75 | 94.424 | 669.0726 | 0 | 0 | -528.2065 | -321.9582
|  |  | 26 | 87.78% | 1009.8831 | 7290.1169 | 2779.2795 | 0 | 0 | 0 | 0 | -2779.2795 | 385.0224 | 448.75 | 200.7218 | 917.1008 | 184.3007 | 18.4301 | 366.5924 | 219.068
|  |  | 27 | 87.34% | 1004.8337 | 7295.1663 | 2914.4492 | 0 | 0 | 0 | 0 | -2914.4492 | 401.4512 | 0 | 275.1302 | 641.9706 | 126.321 | 12.6321 | 388.8191 | 227.7944
|  |  | 28 | 86.91% | 999.8095 | 7300.1905 | 3056.4037 | 0 | 0 | 0 | 0 | -3056.4037 | 418.6115 | 0 | 192.5912 | 449.3794 | 226.0203 | 22.602 | 396.0095 | 227.4578
|  |  | 29 | 86.47% | 994.8105 | 7305.1895 | 3205.4885 | 0 | 0 | 0 | 0 | -3205.4885 | 436.5365 | 0 | 134.8138 | 314.5656 | 301.7226 | 30.1723 | 406.3642 | 228.8287
|  |  | 30 | 86.04% | 989.8364 | 7310.1636 | 3362.0667 | 0 | 897.5 | 0 | 0 | -4259.5667 | -442.2393 | 448.75 | 94.3697 | 668.9459 | 0 | 0 | -442.2393 | -244.1474
|  |  | 31 | 85.61% | 984.8872 | 7315.1128 | 3526.5201 | 0 | 0 | 0 | 0 | -3526.5201 | 474.8205 | 448.75 | 200.6838 | 917.0121 | 274.1367 | 27.4137 | 447.4068 | 242.1572
|  |  | 32 | 85.18% | 979.9628 | 7320.0372 | 3699.2501 | 0 | 0 | 0 | 0 | -3699.2501 | 495.2537 | 0 | 275.1036 | 641.9085 | 220.15 | 22.015 | 473.2387 | 251.1162
|  |  | 33 | 84.75% | 975.063 | 7324.937 | 3880.6785 | 0 | 0 | 0 | 0 | -3880.6785 | 516.5998 | 0 | 192.5725 | 449.3359 | 324.0273 | 32.4027 | 484.1971 | 251.8932
|  |  | 34 | 84.33% | 970.1877 | 7329.8123 | 4071.2488 | 0 | 0 | 0 | 0 | -4071.2488 | 538.9003 | 0 | 134.8008 | 314.5352 | 404.0995 | 40.41 | 498.4904 | 254.2441
|  |  | 35 | 83.91% | 965.3367 | 7334.6633 | 4271.4273 | 0 | 897.5 | 0 | 0 | -5168.9273 | -335.3015 | 448.75 | 94.3605 | 668.9246 | 0 | 0 | -335.3015 | -167.66
|  |  | 36 | 83.49% | 960.51 | 7339.49 | 4481.7041 | 0 | 0 | 0 | 0 | -4481.7041 | 586.5395 | 448.75 | 200.6774 | 916.9972 | 385.8622 | 38.5862 | 547.9533 | 268.6194
|  |  | 37 | 83.07% | 955.7075 | 7344.2925 | 4702.5945 | 0 | 0 | 0 | 0 | -4702.5945 | 611.9708 | 0 | 275.0992 | 641.8981 | 336.8717 | 33.6872 | 578.2837 | 277.9295
|  |  | 38 | 82.66% | 950.9289 | 7349.0711 | 4934.64 | 0 | 0 | 0 | 0 | -4934.64 | 638.5418 | 0 | 192.5694 | 449.3286 | 445.9724 | 44.5972 | 593.9446 | 279.8591
|  |  | 39 | 82.24% | 946.1743 | 7353.8257 | 5178.4102 | 0 | 0 | 0 | 0 | -5178.4102 | 666.3043 | 0 | 134.7986 | 314.53 | 531.5057 | 53.1506 | 613.1537 | 283.2453
|  |  | 40 | 81.83% | 941.4434 | 7358.5566 | 5434.5036 | 0 | 0 | 0 | 120 | -5314.5036 | 815.3123 | 0 | 94.359 | 220.171 | 720.9533 | 72.0953 | 743.217 | 336.5959
Replacement Analysis
|  |  | Defender |  |  |  |  | Challenger
|  |  | Year | Solar efficiency | Loss | Lost energy | Opp. Cost | Lifetime | EAUC
[6 empty] | [kWh] | [$] |  | [$]
|  |  | 0 | 100% | 0% | 0 | 0 | 0 | 0
|  |  | 1 | 99.5% | 0.5% | 5.7523 | 0.70063 | 1 | 1000.2802
|  |  | 2 | 99% | 0.9975% | 11.4758 | 1.4612 | 2 | 500.844
|  |  | 3 | 98.51% | 1.493% | 17.1707 | 2.2858 | 3 | 334.6242
|  |  | 4 | 98.01% | 1.985% | 22.8372 | 3.1789 | 4 | 251.7215
|  |  | 5 | 97.52% | 2.475% | 28.4753 | 4.1451 | 5 | 202.1564
|  |  | 6 | 97.04% | 2.963% | 34.0852 | 5.1893 | 6 | 169.2696
|  |  | 7 | 96.55% | 3.448% | 39.6671 | 6.3169 | 7 | 145.9215
|  |  | 8 | 96.07% | 3.931% | 45.221 | 7.5333 | 8 | 128.543
|  |  | 9 | 95.59% | 4.411% | 50.7472 | 8.8447 | 9 | 115.1512
|  |  | 10 | 95.11% | 4.889% | 56.2458 | 10.2572 | 10 | 104.557
|  |  | 11 | 94.64% | 5.365% | 61.7168 | 11.7775 | 11 | 96.0035 | [6 empty] | PIAZZA STUFF
|  |  | 12 | 94.16% | 5.838% | 67.1605 | 13.4129 | 12 | 88.9869 |  |  | PIAZZA STUFF
|  |  | 13 | 93.69% | 6.309% | 72.577 | 15.1708 | 13 | 83.1581 | [6 empty] | Year | CF
|  |  | 14 | 93.22% | 6.777% | 77.9664 | 17.0593 | 14 | 78.2684 |  |  | Initial cost | 50 |  |  | 1 | -0.05
|  |  | 15 | 92.76% | 7.243% | 83.3289 | 19.0869 | 15 | 74.1355 | [6 empty] | 2 | 0
|  |  | 16 | 92.29% | 7.707% | 88.6646 | 21.2625 | 16 | 70.6228 |  |  | Year | Def. Marg. Cost | EUAC |  | 3 | 0
|  |  | 17 | 91.83% | 8.168% | 93.9735 | 23.5959 | 17 | 67.6261 |  |  | 1 | 2 | 26.0148 |  | 4 | 0
|  |  | 18 | 91.37% | 8.628% | 99.2559 | 26.0972 | 18 | 65.0646 |  |  | 2 | 4 | 14.0367 |  | 5 | 0.05
|  |  | 19 | 90.92% | 9.084% | 104.512 | 28.7771 | 19 | 62.8746 |  |  | 3 | 6 | 10.4014
|  |  | 20 | 90.46% | 9.539% | 109.7417 | 31.6471 | 20 | 61.0056 |  |  | 4 | 8 | 8.8585 |  | NPV | IRR
|  |  | 21 | 90.01% | 9.991% | 114.9453 | 34.7193 | 21 | 59.4166 |  |  | 5 | 10 | 8.1578 |  | -0.0084427 | 0%
|  |  | 22 | 89.56% | 10.44% | 120.1228 | 38.0067 | 22 | 58.0743 |  |  | 6 | 12 | 7.8824
|  |  | 23 | 89.11% | 10.89% | 125.2745 | 41.5228 | 23 | 56.9516 |  |  | 7 | 14 | 7.8535
|  |  | 24 | 88.67% | 11.33% | 130.4004 | 45.2822 | 24 | 56.0259 |  |  | 8 | 16 | 7.9813
|  |  | 25 | 88.22% | 11.78% | 135.5007 | 49.3001 | 25 | 55.2784 |  |  | 9 | 18 | 8.2161
|  |  | 26 | 87.78% | 12.22% | 140.5755 | 53.5929 | 26 | 54.6935 |  |  | 10 | 20 | 8.5278
|  |  | 27 | 87.34% | 12.66% | 145.6249 | 58.1778 | 27 | 54.2579
|  |  | 28 | 86.91% | 13.09% | 150.6491 | 63.0729 | 28 | 53.9606
|  |  | 29 | 86.47% | 13.53% | 155.6482 | 68.2978 | 29 | 53.7921
|  |  | 30 | 86.04% | 13.96% | 160.6222 | 73.8728 | 30 | 53.7445 | <- lowest
|  |  | 31 | 85.61% | 14.39% | 165.5714 | 79.8198 | 31 | 53.811
|  |  | 32 | 85.18% | 14.82% | 170.4958 | 86.1617 | 32 | 53.9859
|  |  | 33 | 84.75% | 15.25% | 175.3956 | 92.9229 | 33 | 54.2643
|  |  | 34 | 84.33% | 15.67% | 180.271 | 100.1292 | 34 | 54.642
|  |  | 35 | 83.91% | 16.09% | 185.1219 | 107.8079 | 35 | 55.1157
|  |  | 36 | 83.49% | 16.51% | 189.9486 | 115.9881 | 36 | 55.6823
|  |  | 37 | 83.07% | 16.93% | 194.7511 | 124.7003 | 37 | 56.3396
|  |  | 38 | 82.66% | 17.34% | 199.5297 | 133.9771 | 38 | 57.0854
|  |  | 39 | 82.24% | 17.76% | 204.2843 | 143.8527 | 39 | 57.9183
|  |  | 40 | 81.83% | 18.17% | 209.0152 | 154.3637 | 40 | 58.8369
Treating the money saved (compared to doing nothing) as income (relative benefit)
Note on J52: Administrator: This can act as the marginal operating cost

## Replacement Analysis
Replacement analysis for the panels as they degrade
Use panel's lost efficiency as opportunity cost -> marginal cost
Assuming efficiency doesn't get better
Use increse in technilogical advantage as added benefit for the challenger EUAC

## Installation
Install Configurations |  |  |  | Components Breakdown
Configuration | Angle | Power | Cost | Component | PV Panel |  |  | Inverters |  | Batteries | Electrical | Mechanical | Engineering | Permitting | Labor
|  |  |  | CCA Class | 43 |  |  | 43 | [5 empty] | N/A | N/A
|  |  |  | CCA Depreciation | 30% |  |  | 30% | [5 empty] | N/A | N/A
| [deg] | [kW] | [$] |  | [panels] | [W/panel] | [$/W] | [W] | [$/W] | [$/Wh] | [$] | [$] | [$] | [$] | [$]
DIY | 35 | 400 | 952 |  | 4 | 100 | 2.38 |  |  | 0

## Sources
Information
MicroFIT | http://www.ieso.ca/get-involved/microfit/news-overview
for generating over 10kW of energy
https://kubyenergy.ca/blog/the-cost-of-solar-panels
City of edmonton rebate
https://kubyenergy.ca/blog/edmonton-solar-power-rebate
Alberta rebate
https://kubyenergy.ca/blog/alberta-residential-and-commercial-solar-power-rebate
Change for climate resources
https://www.edmonton.ca/city_government/documents/PDF/HomeGuide-web.pdf
http://ace.edmonton.ca/energuide/guides/
https://changeforclimate.ca/programs
https://www.edmonton.ca/city_government/environmental_stewardship/solar-energy.aspx
https://www.edmonton.ca/city_government/documents/PDF/TinyExplanation-SolarInEdm.pdf
Source of capital
| https://kubyenergy.ca/how-much-do-solar-panels-cost | Options: cash or loan
Solar cost and efficiency over time
| https://news.energysage.com/solar-panel-efficiency-cost-over-time/ |  | 2018 | 2008 | growth rate
| https://en.wikipedia.org/wiki/Solar_cell_efficiency |  | 35.5% | 32% | 1.16%
| Solar price index |  | 2018 | 35.5%
| https://www.pv-magazine.com/features/investors/module-price-index/ |  | 2028 | 39.84%
|  |  | 2038 | 44.71%
|  |  | 2048 | 50.18%
|  |  | 2058 | 56.31% | <- eff in 2058