## Constants
SYSTEM REQUIREMENTS
| Daily average demand | 22.7 | kWh per day
| Available Roofspace | 10 | m^2
| PART LIST | [8 empty] | Solar cells output density is already limited by the physics (expect neglegible advancements in future)
Type | Part | Cost |  | Salvage value |  | Performance |  | CCA
Panels | Type A | 1.5 | per W | 0 | per W | 100 | W per m^2 | 43 | 30% | Performance degrades 0.5%/year
| Type B | 1.75 | per W | 0 | per W | 200 | W per m^2 | 43 | 30% | Failure rate of 0.05% |  |  | Usually solar warranty of 25 years (free replacement til then)
| Type C | 2 | per W | 0 | per W | 300 | W per m^2 | 43 | 30% | Mounting configuration angles
Mounts | Fast rack |  | per m^2 | [6 empty] | Angle | Performance decrease
| Adjustable angle | [8 empty] | 90 | 0%
[10 empty] | 53 | 0.8%
| Rule of thumb energy density | 12 | W per sqft | [6 empty] | 45 | 1.7%
[10 empty] | 27 | 4%
[10 empty] | 18 | 4.7%
[10 empty] | 14 | 4.5%
Soiling and Cleaning
[10 empty] | Cleaning frequency | Performance decrease
[10 empty] | Annual | 2% |  | <- we can model it linearly at 2% per year
[10 empty] | Average | 5% |  | <- clean every 1 year or 5 years
[10 empty] | Significant | 10%
[10 empty] | Cleaning cost | 10 | per m^2
| Inflation Rate | 3%
| ATCF MARR | 3%
|  | Accounting for inflation rate and other factors | [7 empty] | Cost of installation breakdown |  |  |  | 10000 | 4kW | 3000 | per kW
[10 empty] | https://kubyenergy.ca/blog/the-cost-of-solar-panels |  |  |  | 16000 | 6kW
[10 empty] | PV panels | 35% |  |  | 46000 | 16kW
[10 empty] | Inverters | 20%
[10 empty] | Racking & Electrical | 23%
[10 empty] | Engineering/Design | 4%
[10 empty] | Permitting | 2%

## Grid Power
| This contains data for grid electricity | [12 empty] | Sources:
https://www.oeb.ca/rates-and-your-bill/electricity-rates/historical-electricity-rates
| Electricity Cost | [12 empty] | https://www.powerstream.ca/customers/rates-support-programs/time-of-use-pricing.html
| Year | Off-peak | Mid-peak | On-peak | Electricity | Transmission | Distribution | Admin Fees | Total |  | Off-peak | Mid-peak | On-peak | https://www.aeso.ca/assets/Uploads/TRP-Factsheet-2018.pdf
|  | [$/kWh] | [$/kWh] | [$/kWh] | [$/kWh] | [$/kWh] | [$/kWh] | [$/kWh] | [$/kWh] |  | 50% | 25% | 25%
Historical | 2006 | 0.035 | 0.075 | 0.105 | 0.0625
| 2007 | 0.032 | 0.072 | 0.092 | 0.057 | [5 empty] | Transmission | 16.8%
| 2008 | 0.027 | 0.073 | 0.093 | 0.055 | [5 empty] | Distribution | 13%
| 2009 | 0.042 | 0.076 | 0.091 | 0.06275 | [5 empty] | Admin | 5%
| 2010 | 0.053 | 0.08 | 0.099 | 0.07125
| 2011 | 0.059 | 0.089 | 0.107 | 0.0785 | [5 empty] | Electricity Increase | 5.1% | per year
| 2012 | 0.065 | 0.1 | 0.117 | 0.08675 | [5 empty] | Transmission Increase | 2.2% | per year
| 2013 | 0.067 | 0.104 | 0.124 | 0.0905
| 2014 | 0.075 | 0.112 | 0.135 | 0.09925
| 2015 | 0.08 | 0.122 | 0.161 | 0.11075
| 2016 | 0.087 | 0.132 | 0.18 | 0.1215
| 2017 | 0.077 | 0.113 | 0.157 | 0.106
| 2018 | 0.065 | 0.094 | 0.132 | 0.089 | 0.014952 | 0.008125 | 0.00445 | 0.11653
Projected | 2019 | 0.068315 | 0.098794 | 0.13873 | 0.093539 | 0.015281 | 0.0083038 | 0.004677 | 0.1218
| 2020 | 0.071799 | 0.10383 | 0.14581 | 0.098309 | 0.015617 | 0.0084864 | 0.0049155 | 0.12733
| 2021 | 0.075461 | 0.10913 | 0.15324 | 0.10332 | 0.015961 | 0.0086731 | 0.0051662 | 0.13312
| 2022 | 0.079309 | 0.11469 | 0.16106 | 0.10859 | 0.016312 | 0.0088639 | 0.0054296 | 0.1392
| 2023 | 0.083354 | 0.12054 | 0.16927 | 0.11413 | 0.016671 | 0.0090589 | 0.0057065 | 0.14557 | 5 year analysis
| 2024 | 0.087605 | 0.12669 | 0.17791 | 0.11995 | 0.017037 | 0.0092582 | 0.0059976 | 0.15224
| 2025 | 0.092073 | 0.13315 | 0.18698 | 0.12607 | 0.017412 | 0.0094619 | 0.0063035 | 0.15925
| 2026 | 0.096769 | 0.13994 | 0.19651 | 0.1325 | 0.017795 | 0.0096701 | 0.0066249 | 0.16659
| 2027 | 0.1017 | 0.14708 | 0.20654 | 0.13926 | 0.018187 | 0.0098828 | 0.0069628 | 0.17429
| 2028 | 0.10689 | 0.15458 | 0.21707 | 0.14636 | 0.018587 | 0.0101 | 0.0073179 | 0.18236
| 2029 | 0.11234 | 0.16246 | 0.22814 | 0.15382 | 0.018996 | 0.010322 | 0.0076911 | 0.19083
| 2030 | 0.11807 | 0.17075 | 0.23978 | 0.16167 | 0.019414 | 0.01055 | 0.0080834 | 0.19971
| 2031 | 0.12409 | 0.17946 | 0.25201 | 0.16991 | 0.019841 | 0.010782 | 0.0084956 | 0.20903
| 2032 | 0.13042 | 0.18861 | 0.26486 | 0.17858 | 0.020277 | 0.011019 | 0.0089289 | 0.2188
| 2033 | 0.13707 | 0.19823 | 0.27837 | 0.18769 | 0.020723 | 0.011261 | 0.0093843 | 0.22905
| 2034 | 0.14406 | 0.20834 | 0.29256 | 0.19726 | 0.021179 | 0.011509 | 0.0098629 | 0.23981
| 2035 | 0.15141 | 0.21896 | 0.30748 | 0.20732 | 0.021645 | 0.011762 | 0.010366 | 0.25109
| 2036 | 0.15913 | 0.23013 | 0.32316 | 0.21789 | 0.022122 | 0.012021 | 0.010895 | 0.26293
| 2037 | 0.16725 | 0.24187 | 0.33965 | 0.229 | 0.022608 | 0.012285 | 0.01145 | 0.27535
| 2038 | 0.17578 | 0.2542 | 0.35697 | 0.24068 | 0.023106 | 0.012556 | 0.012034 | 0.28838 | 20 year analysis
| 2039 | 0.18474 | 0.26717 | 0.37517 | 0.25296 | 0.023614 | 0.012832 | 0.012648 | 0.30205
| 2040 | 0.19417 | 0.28079 | 0.39431 | 0.26586 | 0.024133 | 0.013114 | 0.013293 | 0.3164
| 2041 | 0.20407 | 0.29511 | 0.41442 | 0.27942 | 0.024664 | 0.013403 | 0.013971 | 0.33145
| 2042 | 0.21448 | 0.31017 | 0.43555 | 0.29367 | 0.025207 | 0.013698 | 0.014683 | 0.34725
| 2043 | 0.22541 | 0.32598 | 0.45776 | 0.30864 | 0.025762 | 0.013999 | 0.015432 | 0.36384
| 2044 | 0.23691 | 0.34261 | 0.48111 | 0.32438 | 0.026328 | 0.014307 | 0.016219 | 0.38124
| 2045 | 0.24899 | 0.36008 | 0.50565 | 0.34093 | 0.026908 | 0.014622 | 0.017046 | 0.3995
| 2046 | 0.26169 | 0.37845 | 0.53143 | 0.35832 | 0.027499 | 0.014943 | 0.017916 | 0.41867
| 2047 | 0.27504 | 0.39775 | 0.55854 | 0.37659 | 0.028104 | 0.015272 | 0.018829 | 0.4388
| 2048 | 0.28906 | 0.41803 | 0.58702 | 0.3958 | 0.028723 | 0.015608 | 0.01979 | 0.45992
| 2049 | 0.30381 | 0.43935 | 0.61696 | 0.41598 | 0.029355 | 0.015951 | 0.020799 | 0.48209
| 2050 | 0.3193 | 0.46176 | 0.64843 | 0.4372 | 0.03 | 0.016302 | 0.02186 | 0.50536
| 2051 | 0.33559 | 0.48531 | 0.6815 | 0.45949 | 0.03066 | 0.016661 | 0.022975 | 0.52979
| 2052 | 0.3527 | 0.51006 | 0.71625 | 0.48293 | 0.031335 | 0.017028 | 0.024146 | 0.55544
| 2053 | 0.37069 | 0.53607 | 0.75278 | 0.50756 | 0.032024 | 0.017402 | 0.025378 | 0.58236
| 2054 | 0.38959 | 0.56341 | 0.79117 | 0.53344 | 0.032729 | 0.017785 | 0.026672 | 0.61063
| 2055 | 0.40946 | 0.59215 | 0.83152 | 0.56065 | 0.033449 | 0.018176 | 0.028032 | 0.64031
| 2056 | 0.43034 | 0.62234 | 0.87393 | 0.58924 | 0.034185 | 0.018576 | 0.029462 | 0.67146
| 2057 | 0.45229 | 0.65408 | 0.9185 | 0.61929 | 0.034937 | 0.018985 | 0.030965 | 0.70418
| 2058 | 0.47536 | 0.68744 | 0.96535 | 0.65088 | 0.035706 | 0.019403 | 0.032544 | 0.73853 | 40 year analysis

## Sources
Information
MicroFIT | http://www.ieso.ca/get-involved/microfit/news-overview
for generating over 10kW of energy
https://kubyenergy.ca/blog/the-cost-of-solar-panels
City of edmonton rebate
https://kubyenergy.ca/blog/edmonton-solar-power-rebate
Alberta rebate
https://kubyenergy.ca/blog/alberta-residential-and-commercial-solar-power-rebate
Change for climate resources
https://www.edmonton.ca/city_government/documents/PDF/HomeGuide-web.pdf
http://ace.edmonton.ca/energuide/guides/
https://changeforclimate.ca/programs
https://www.edmonton.ca/city_government/environmental_stewardship/solar-energy.aspx
https://www.edmonton.ca/city_government/documents/PDF/TinyExplanation-SolarInEdm.pdf
Source of capital
| https://kubyenergy.ca/how-much-do-solar-panels-cost | Options: cash or loan
Solar cost and efficiency over time
| https://news.energysage.com/solar-panel-efficiency-cost-over-time/ |  | 2018 | 2008 | growth rate
| https://en.wikipedia.org/wiki/Solar_cell_efficiency |  | 35.5% | 32% | 1.16%
| Solar price index |  | 2018 | 35.5%
| https://www.pv-magazine.com/features/investors/module-price-index/ |  | 2028 | 39.84%
|  |  | 2038 | 44.71%
|  |  | 2048 | 50.18%
|  |  | 2058 | 56.31% | <- eff in 2058

## CF Analysis (Nothing)
This is the analysis for doing nothing
Analysis period | 5 | years | Year | Usage | Energy cost | Energy cost | PW |  |  | https://callmepower.ca/en/ab/electricity/cost/averages-house-apartment-condo
| 20 | years |  | [kWh] | [real $] | [nominal $] | [$] | PW cost
| 40 | years | 0 | 0 | 0 | 0 | 0 | 5 years | 5530.3613
|  |  | 1 | 8291.175 | 1009.8705 | 1040.1666 | 1009.8705 | 20 years | 32059.7988
|  |  | 2 | 8291.175 | 1055.703 | 1119.9954 | 1055.703 | 40 years | 113141.4273
|  |  | 3 | 8291.175 | 1103.7483 | 1206.0956 | 1103.7483
|  |  | 4 | 8291.175 | 1154.1165 | 1298.9682 | 1154.1165
|  |  | 5 | 8291.175 | 1206.923 | 1399.1546 | 1206.923
|  |  | 6 | 8291.175 | 1262.2896 | 1507.2397 | 1262.2896
|  |  | 7 | 8291.175 | 1320.3437 | 1623.8562 | 1320.3437
|  |  | 8 | 8291.175 | 1381.2195 | 1749.6875 | 1381.2195
|  |  | 9 | 8291.175 | 1445.0578 | 1885.4726 | 1445.0578
|  |  | 10 | 8291.175 | 1512.0065 | 2032.0103 | 1512.0065
|  |  | 11 | 8291.175 | 1582.2212 | 2190.1641 | 1582.2212
|  |  | 12 | 8291.175 | 1655.865 | 2360.8676 | 1655.865
|  |  | 13 | 8291.175 | 1733.1096 | 2545.1299 | 1733.1096
|  |  | 14 | 8291.175 | 1814.1352 | 2744.0423 | 1814.1352
|  |  | 15 | 8291.175 | 1899.1311 | 2958.7844 | 1899.1311
|  |  | 16 | 8291.175 | 1988.2963 | 3190.6319 | 1988.2963
|  |  | 17 | 8291.175 | 2081.8397 | 3440.9638 | 2081.8397
|  |  | 18 | 8291.175 | 2179.9808 | 3711.2715 | 2179.9808
|  |  | 19 | 8291.175 | 2282.9505 | 4003.1675 | 2282.9505
|  |  | 20 | 8291.175 | 2390.991 | 4318.3957 | 2390.991
|  |  | 21 | 8291.175 | 2504.357 | 4658.8417 | 2504.357
|  |  | 22 | 8291.175 | 2623.316 | 5026.5448 | 2623.316
|  |  | 23 | 8291.175 | 2748.1492 | 5423.7101 | 2748.1492
|  |  | 24 | 8291.175 | 2879.1517 | 5852.7227 | 2879.1517
|  |  | 25 | 8291.175 | 3016.6341 | 6316.1619 | 3016.6341
|  |  | 26 | 8291.175 | 3160.9223 | 6816.8174 | 3160.9223
|  |  | 27 | 8291.175 | 3312.3588 | 7357.7062 | 3312.3588
|  |  | 28 | 8291.175 | 3471.3037 | 7942.0917 | 3471.3037
|  |  | 29 | 8291.175 | 3638.135 | 8573.5035 | 3638.135
|  |  | 30 | 8291.175 | 3813.2503 | 9255.7592 | 3813.2503
|  |  | 31 | 8291.175 | 3997.0669 | 9992.9885 | 3997.0669
|  |  | 32 | 8291.175 | 4190.0237 | 10789.6579 | 4190.0237
|  |  | 33 | 8291.175 | 4392.5817 | 11650.5992 | 4392.5817
|  |  | 34 | 8291.175 | 4605.2252 | 12581.0391 | 4605.2252
|  |  | 35 | 8291.175 | 4828.4632 | 13586.6312 | 4828.4632
|  |  | 36 | 8291.175 | 5062.8305 | 14673.4918 | 5062.8305
|  |  | 37 | 8291.175 | 5308.889 | 15848.2371 | 5308.889
|  |  | 38 | 8291.175 | 5567.2294 | 17118.0249 | 5567.2294
|  |  | 39 | 8291.175 | 5838.472 | 18490.5983 | 5838.472
|  |  | 40 | 8291.175 | 6123.2689 | 19974.3345 | 6123.2689

## CF Analysis (A)
Option A
Install cost | 30000
Output | 16 | kW
Angle | 18 | deg

## Replacement Analysis
Replacement analysis for the panels as they degrade
Use panel's lost efficiency as opportunity cost
Use increse in technilogical advantage as added benefit for the challenger EUAC

## Weather Data
Edmonton Weather Data
Longest Day | 17 | hours | Sunrise | 5:04 | Sun highest | 60 | deg
Shortest Day | 7.6 | hours | Sunrise | 8:50 | Sun lowest | 13 | deg