## Constants
SYSTEM REQUIREMENTS
Daily average demand | 22.7 | kWh per day
Available Roofspace | 10 | m^2 |  |  | Mounting configuration angles
Roof pitch | 35 | deg |  |  | Angle | Performance decrease
[5 empty] | 90 | 0%
Adjustable angle |  |  |  |  | 53 | 0.8%
[5 empty] | 45 | 1.7%
Rule of thumb energy density | 12 | W per sqft |  |  | 35 | 3%
[5 empty] | 27 | 4%
Performance degration | 0.5% | per year |  |  | 18 | 4.7%
Failure rate | 0.05% | per year | Usually solar warranty of 25 years (free replacement til then) |  | 14 | 4.5%
| 400 | years
Soiling and Cleaning
[5 empty] | Cleaning frequency | Performance decrease
[5 empty] | Annual | 2% |  | <- we can model it linearly at 2% per year
[5 empty] | Average | 5% |  | <- clean every 1 year or 5 years
[5 empty] | Significant | 10%
Prime rate | 3% | https://ycharts.com/indicators/canada_prime_rate_monthly |  |  | Cleaning cost | 10 | per m^2
Inflation Rate | 2%
ATCF Nominal MARR | 3%
| Accounting for inflation rate and other factors |  |  |  | Cost of installation breakdown | [5 empty] | 10000 | 4kW | 3000 | per kW
Tax rate | 10% | https://www.canada.ca/en/revenue-agency/services/tax/businesses/topics/corporations/corporation-tax-rates.html | https://en.wikipedia.org/wiki/Canada_small_business_tax_rate |  | https://kubyenergy.ca/blog/the-cost-of-solar-panels | [5 empty] | 16000 | 6kW
Sales Tax | 5% |  |  |  | PV panels | 35% |  |  |  |  | 46000 | 16kW
[5 empty] | Inverters | 20%
Solar technician sallary | 24 | per hour | https://ca.indeed.com/Solar-Technician-jobs-in-Ontario?vjk=37ca25b9096f3721 |  | Racking & Electrical | 23%
|  |  | https://work.chron.com/pay-scale-solar-energy-technician-19567.html |  | Engineering/Design | 4%
[5 empty] | Permitting | 2%
[5 empty] | Labour | 16%
Dollar per watt | https://kubyenergy.ca/blog/solar-glossary | https://www.bchydro.com/news/conservation/2016/sell-electricity-at-your-home.html |  | Dollar per watt linear model
Capacity | Cost | Model Cost |  | Capacity | Cost | Cost |  | System W | 6 | kW
[kW] | [$/kW] | [$/kW] |  | [kW] | [$/kW] | [$] |  | Fixed Cost | 4120
1 |  | 5.8 |  | 2 | 4 | 8000 |  | Variable cost | 2150 | /kW
2 | 4 | 4.2 |  | 4 | 3.25 | 13000 |  |  | 12900
4 | 3.25 | 3.1333 |  | 6 | 2.85 | 17100 |  | Total | 17020
6 | 2.85 | 2.7231 |  | 8 | 2.75 | 22000
8 | 2.75 | 2.5059 |  | 10 | 2.5 | 25000
10 | 2.5 | 2.3714
Allowed loan terms
5 | years
10 | years
15 | years
Maintainance
Average annual cost | 100 | /10 kW
| 0.01 | / W

## Configurations
A
DIY
Parts List
Part | Qty. | Cost ea. | Cost | CCA class | Depreciation | Salvage | Replacement Period | Specifications
PV panels | 4 | 238 | 952 | 43 | 30% | 30 | R/A | 100 | W/panel
Charge controller | 1 | 150 | 150 | 43 | 30% | 0 | 10
Inverter | 1 | 539.5 | 539.5 | 43 | 30% | 0 | 10 | 1800 | W
Battery | 8 | 26 | 208 | 43 | 30% | 0 | 10 | 96 | Wh/battery
Installation
Installation time | 4 | hours
Taxed Cost
PV Panels | 999.6
Other Parts | 942.375 | replaced every | 10 | years
Installation | 96
Total | 2037.975
Performance
Capacity | 400 | W
B
Medium setup
Capacity | 5 | kW |  | Payment Options
Fixed cost | 4120 |  |  | Option | Interest | Terms
Variable cost | 10750 |  |  | Loan | 5% | 5, 10, 15
Total install cost | 14870 |  |  | Cash | 0 | N/A
Type | Fraction of cost | Cost | CCA | CCA rate | Replacement
PV panels | 35% | 5204.5 | 43 | 30%
Inverters | 20% | 2974 | 43 | 30% | 10 | years
Mechanical | 9% | 1338.3 | 17 | 10%
Electrical | 14% | 2081.8 | 8 | 20% | 10 | years
Engineering/Design | 4% | 594.8 | N/A | N/A
Permitting | 2% | 297.4 | N/A | N/A
Labour | 16% | 2379.2 | N/A | N/A
| UCC account 1 | UCC account 2 | UCC account 3
Cost basis | 8178.5 | 1338.3 | 2081.8
Depreciation | 30% | 10% | 20%
Note on H6: Muchen He: https://ases.conference-services.net/resources/252/2859/pdf/SOLAR2012_0783_full%20paper.pdf
Note on I7: Muchen He: https://www.solarpaneltalk.com/forum/solar-power-lighting/solar-lighting-for-homes-and-gardens/14683-lifespan-of-solar-charger-solar-controller-and-battery-agm-sla

## Grid Power
| Electricity Cost | [9 empty] | Peak Probability |  |  | Sources:
| Year | Off-peak | Mid-peak | On-peak | Electricity | Transmission | Distribution | Admin Fees | Total | Buyback | Off-peak | 50% |  | https://www.oeb.ca/rates-and-your-bill/electricity-rates/historical-electricity-rates
|  | [$/kWh] | [$/kWh] | [$/kWh] | [$/kWh] | [$/kWh] | [$/kWh] | [$/kWh] | [$/kWh] | [$/kWh] | Mid-peak | 25% |  | https://www.powerstream.ca/customers/rates-support-programs/time-of-use-pricing.html
Historical | 2006 | 0.035 | 0.075 | 0.105 | 0.0625 | no data |  |  |  | no data | On-peak | 25% |  | https://www.aeso.ca/assets/Uploads/TRP-Factsheet-2018.pdf
| 2007 | 0.032 | 0.072 | 0.092 | 0.057 | [8 empty] | https://www.bchydro.com/news/conservation/2016/sell-electricity-at-your-home.html
| 2008 | 0.027 | 0.073 | 0.093 | 0.055 | [5 empty] | Relative Costs
| 2009 | 0.042 | 0.076 | 0.091 | 0.06275 | [5 empty] | Transmission | 16.8%
| 2010 | 0.053 | 0.08 | 0.099 | 0.07125 | [5 empty] | Distribution | 13%
| 2011 | 0.059 | 0.089 | 0.107 | 0.0785 | [5 empty] | Admin | 5%
| 2012 | 0.065 | 0.1 | 0.117 | 0.08675
| 2013 | 0.067 | 0.104 | 0.124 | 0.0905 | [5 empty] | Cost Increase
| 2014 | 0.075 | 0.112 | 0.135 | 0.09925 | [5 empty] | Electricity Increase | 5.1% | per year
| 2015 | 0.08 | 0.122 | 0.161 | 0.11075 | [5 empty] | Transmission Increase | 2.2% | per year
| 2016 | 0.087 | 0.132 | 0.18 | 0.1215 |  |  |  |  | 0.099
| 2017 | 0.077 | 0.113 | 0.157 | 0.106 |  |  |  |  | 0.10098 | Buy back incrase rate | 2% | per year
| 2018 | 0.065 | 0.094 | 0.132 | 0.089 | 0.014952 | 0.008125 | 0.00445 | 0.11653 | 0.103
Projected | 2019 | 0.068315 | 0.098794 | 0.13873 | 0.093539 | 0.015281 | 0.0083038 | 0.004677 | 0.1218 | 0.10506
| 2020 | 0.071799 | 0.10383 | 0.14581 | 0.098309 | 0.015617 | 0.0084864 | 0.0049155 | 0.12733 | 0.10716
| 2021 | 0.075461 | 0.10913 | 0.15324 | 0.10332 | 0.015961 | 0.0086731 | 0.0051662 | 0.13312 | 0.1093
| 2022 | 0.079309 | 0.11469 | 0.16106 | 0.10859 | 0.016312 | 0.0088639 | 0.0054296 | 0.1392 | 0.11149
| 2023 | 0.083354 | 0.12054 | 0.16927 | 0.11413 | 0.016671 | 0.0090589 | 0.0057065 | 0.14557 | 0.11372
| 2024 | 0.087605 | 0.12669 | 0.17791 | 0.11995 | 0.017037 | 0.0092582 | 0.0059976 | 0.15224 | 0.11599
| 2025 | 0.092073 | 0.13315 | 0.18698 | 0.12607 | 0.017412 | 0.0094619 | 0.0063035 | 0.15925 | 0.11831
| 2026 | 0.096769 | 0.13994 | 0.19651 | 0.1325 | 0.017795 | 0.0096701 | 0.0066249 | 0.16659 | 0.12068
| 2027 | 0.1017 | 0.14708 | 0.20654 | 0.13926 | 0.018187 | 0.0098828 | 0.0069628 | 0.17429 | 0.12309
| 2028 | 0.10689 | 0.15458 | 0.21707 | 0.14636 | 0.018587 | 0.0101 | 0.0073179 | 0.18236 | 0.12556
| 2029 | 0.11234 | 0.16246 | 0.22814 | 0.15382 | 0.018996 | 0.010322 | 0.0076911 | 0.19083 | 0.12807
| 2030 | 0.11807 | 0.17075 | 0.23978 | 0.16167 | 0.019414 | 0.01055 | 0.0080834 | 0.19971 | 0.13063
| 2031 | 0.12409 | 0.17946 | 0.25201 | 0.16991 | 0.019841 | 0.010782 | 0.0084956 | 0.20903 | 0.13324
| 2032 | 0.13042 | 0.18861 | 0.26486 | 0.17858 | 0.020277 | 0.011019 | 0.0089289 | 0.2188 | 0.13591
| 2033 | 0.13707 | 0.19823 | 0.27837 | 0.18769 | 0.020723 | 0.011261 | 0.0093843 | 0.22905 | 0.13862
| 2034 | 0.14406 | 0.20834 | 0.29256 | 0.19726 | 0.021179 | 0.011509 | 0.0098629 | 0.23981 | 0.1414
| 2035 | 0.15141 | 0.21896 | 0.30748 | 0.20732 | 0.021645 | 0.011762 | 0.010366 | 0.25109 | 0.14422
| 2036 | 0.15913 | 0.23013 | 0.32316 | 0.21789 | 0.022122 | 0.012021 | 0.010895 | 0.26293 | 0.14711
| 2037 | 0.16725 | 0.24187 | 0.33965 | 0.229 | 0.022608 | 0.012285 | 0.01145 | 0.27535 | 0.15005
| 2038 | 0.17578 | 0.2542 | 0.35697 | 0.24068 | 0.023106 | 0.012556 | 0.012034 | 0.28838 | 0.15305
| 2039 | 0.18474 | 0.26717 | 0.37517 | 0.25296 | 0.023614 | 0.012832 | 0.012648 | 0.30205 | 0.15611
| 2040 | 0.19417 | 0.28079 | 0.39431 | 0.26586 | 0.024133 | 0.013114 | 0.013293 | 0.3164 | 0.15924
| 2041 | 0.20407 | 0.29511 | 0.41442 | 0.27942 | 0.024664 | 0.013403 | 0.013971 | 0.33145 | 0.16242
| 2042 | 0.21448 | 0.31017 | 0.43555 | 0.29367 | 0.025207 | 0.013698 | 0.014683 | 0.34725 | 0.16567
| 2043 | 0.22541 | 0.32598 | 0.45776 | 0.30864 | 0.025762 | 0.013999 | 0.015432 | 0.36384 | 0.16898
| 2044 | 0.23691 | 0.34261 | 0.48111 | 0.32438 | 0.026328 | 0.014307 | 0.016219 | 0.38124 | 0.17236
| 2045 | 0.24899 | 0.36008 | 0.50565 | 0.34093 | 0.026908 | 0.014622 | 0.017046 | 0.3995 | 0.17581
| 2046 | 0.26169 | 0.37845 | 0.53143 | 0.35832 | 0.027499 | 0.014943 | 0.017916 | 0.41867 | 0.17932
| 2047 | 0.27504 | 0.39775 | 0.55854 | 0.37659 | 0.028104 | 0.015272 | 0.018829 | 0.4388 | 0.18291
| 2048 | 0.28906 | 0.41803 | 0.58702 | 0.3958 | 0.028723 | 0.015608 | 0.01979 | 0.45992 | 0.18657
| 2049 | 0.30381 | 0.43935 | 0.61696 | 0.41598 | 0.029355 | 0.015951 | 0.020799 | 0.48209 | 0.1903
| 2050 | 0.3193 | 0.46176 | 0.64843 | 0.4372 | 0.03 | 0.016302 | 0.02186 | 0.50536 | 0.19411
| 2051 | 0.33559 | 0.48531 | 0.6815 | 0.45949 | 0.03066 | 0.016661 | 0.022975 | 0.52979 | 0.19799
| 2052 | 0.3527 | 0.51006 | 0.71625 | 0.48293 | 0.031335 | 0.017028 | 0.024146 | 0.55544 | 0.20195
| 2053 | 0.37069 | 0.53607 | 0.75278 | 0.50756 | 0.032024 | 0.017402 | 0.025378 | 0.58236 | 0.20599
| 2054 | 0.38959 | 0.56341 | 0.79117 | 0.53344 | 0.032729 | 0.017785 | 0.026672 | 0.61063 | 0.21011
| 2055 | 0.40946 | 0.59215 | 0.83152 | 0.56065 | 0.033449 | 0.018176 | 0.028032 | 0.64031 | 0.21431
| 2056 | 0.43034 | 0.62234 | 0.87393 | 0.58924 | 0.034185 | 0.018576 | 0.029462 | 0.67146 | 0.2186
| 2057 | 0.45229 | 0.65408 | 0.9185 | 0.61929 | 0.034937 | 0.018985 | 0.030965 | 0.70418 | 0.22297
| 2058 | 0.47536 | 0.68744 | 0.96535 | 0.65088 | 0.035706 | 0.019403 | 0.032544 | 0.73853 | 0.22743

## Weather
Sunny | 50.3% | of daylight
Cloudy | 25% | of daylight
Overcast | 24.7% | of daylight
Month | Daylight | Sunlight | Cloudy | Overcast | Effective | Correction Factor | Corrected
| [hours] | [hours] | [hours] | [hours] | [hours] |  | [hours]
1 | 219.15 | 110.2325 | 54.7875 | 54.1301 | 134.6238 | 25.29% | 34.0529
2 | 238.72 | 120.0762 | 59.68 | 58.9638 | 146.6457 | 35.13% | 51.5165
3 | 292.2 | 146.9766 | 73.05 | 72.1734 | 179.4985 | 52.16% | 93.6351
4 | 365.25 | 183.7208 | 91.3125 | 90.2168 | 224.3731 | 71.84% | 161.1787
5 | 438.3 | 220.4649 | 109.575 | 108.2601 | 269.2477 | 88.87% | 239.2806
6 | 491.78 | 247.3653 | 122.945 | 121.4697 | 302.1005 | 98.71% | 298.1888
7 | 511.35 | 257.209 | 127.8375 | 126.3034 | 314.1223 | 98.71% | 310.055
8 | 491.78 | 247.3653 | 122.945 | 121.4697 | 302.1005 | 88.87% | 268.4768
9 | 438.3 | 220.4649 | 109.575 | 108.2601 | 269.2477 | 71.84% | 193.4144
10 | 365.25 | 183.7208 | 91.3125 | 90.2168 | 224.3731 | 52.16% | 117.0439
11 | 292.2 | 146.9766 | 73.05 | 72.1734 | 179.4985 | 35.13% | 63.0577
12 | 238.72 | 120.0762 | 59.68 | 58.9638 | 146.6457 | 25.29% | 37.0938
Solar Performance |  | 85% | 50% | 25%
[8 empty] | actual | desired | result
[8 empty] | 0.42857 | 0.114 | 0.10983

## Consumption
Yearly Aveage | 8300 | kWh
Fluctuation | 10%
Monthly Fluct. | 69.1667 | kWh
Monthly Offset | 691.67 | kWh
Consumption
Month | Uniform | Model
1 | 691.6667 | 751.5701
2 | 691.6667 | 726.2533
3 | 691.6667 | 691.67
4 | 691.6667 | 657.0867
5 | 691.6667 | 631.7699
6 | 691.6667 | 622.5033
7 | 691.6667 | 631.7699
8 | 691.6667 | 657.0867
9 | 691.6667 | 691.67
10 | 691.6667 | 726.2533
11 | 691.6667 | 751.5701
12 | 691.6667 | 760.8367
Yearly | 8300 | 8300.04 | kWh

## Incentives
Government Incentives to reward renewable energy
Installation rebates
Alberta | 0.75 | per W | Lesser of: | 30% | of installation or | 10000
Edmonton | 0.15 | per W
Power payback | 0.08 | per kW

## Analysis (Nothing)
Year | Usage | Energy cost | Energy Cost |  |  | NPV |  | https://callmepower.ca/en/ab/electricity/cost/averages-house-apartment-condo
| [kWh] | [$] | [$ nominal] | Period | [$] | [$ nominal]
0 | 0 | 0 | 0 | 5 years | 5057.566 | 4764.8942 | In losses
1 | 8300.04 | 1010.9502 | 991.1277 | 20 years | 22837.9896 | 18478.4102 | In losses
2 | 8300.04 | 1056.8318 | 1015.7937 | 40 years | 54766.1225 | 35844.1903 | In losses
3 | 8300.04 | 1104.9285 | 1041.1988
4 | 8300.04 | 1155.3504 | 1067.3652 | EAUC
5 | 8300.04 | 1208.2135 | 1094.3162 | Period | [$ nominal]
6 | 8300.04 | 1263.6392 | 1122.0755 | 5 years | 1040.4364
7 | 8300.04 | 1321.7554 | 1150.6676 | 20 years | 1242.0394
8 | 8300.04 | 1382.6963 | 1180.118 | 40 years | 1550.7049
9 | 8300.04 | 1446.6028 | 1210.4525
10 | 8300.04 | 1513.6232 | 1241.6982
11 | 8300.04 | 1583.9129 | 1273.8826
12 | 8300.04 | 1657.6355 | 1307.0343
13 | 8300.04 | 1734.9627 | 1341.1826
14 | 8300.04 | 1816.0749 | 1376.3578
15 | 8300.04 | 1901.1617 | 1412.5912
16 | 8300.04 | 1990.4222 | 1449.9147
17 | 8300.04 | 2084.0656 | 1488.3616
18 | 8300.04 | 2182.3117 | 1527.966
19 | 8300.04 | 2285.3915 | 1568.763
20 | 8300.04 | 2393.5475 | 1610.7888
21 | 8300.04 | 2507.0347 | 1654.0809
22 | 8300.04 | 2626.1209 | 1698.6775
23 | 8300.04 | 2751.0875 | 1744.6184
24 | 8300.04 | 2882.2302 | 1791.9444
25 | 8300.04 | 3019.8595 | 1840.6976
26 | 8300.04 | 3164.302 | 1890.9213
27 | 8300.04 | 3315.9004 | 1942.6602
28 | 8300.04 | 3475.0152 | 1995.9603
29 | 8300.04 | 3642.0249 | 2050.8691
30 | 8300.04 | 3817.3274 | 2107.4353
31 | 8300.04 | 4001.3406 | 2165.7095
32 | 8300.04 | 4194.5038 | 2225.7434
33 | 8300.04 | 4397.2783 | 2287.5905
34 | 8300.04 | 4610.1491 | 2351.3059
35 | 8300.04 | 4833.6258 | 2416.9464
36 | 8300.04 | 5068.2437 | 2484.5704
37 | 8300.04 | 5314.5653 | 2554.2382
38 | 8300.04 | 5573.1819 | 2626.0119
39 | 8300.04 | 5844.7145 | 2699.9555
40 | 8300.04 | 6129.8159 | 2776.1349

## Analysis (A)
A
One Year Power Estimate |  |  | 5 Year Analysis
Month | Generated |  | Year | Power |  |  | Cost |  |  |  | Benefits |  |  | Tax and Depreciation | [6 empty] | Net |  | Real IRR | -15.75%
1 | 13212.5087 | Wh |  | Solar efficiency | Solar | Grid | Power Cost | Installation | Maintainance | Replacement | Rebate | Buyback | Salvage | Cashflow | Relative Benefit | UCC Change | CCA | Book Val. | Taxable Income | Tax | Net Saved | Net Saved | Nominal IRR | -17.4%
2 | 19988.4208 | Wh |  |  | [kWh] | [kWh] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$ nominal] | NPV Savings | -998.4909
3 | 36330.438 | Wh | 0 | 100% | 0 | 0 | 0 | 2037.975 | 4 | 0 | 360 | 0 | 0 | -1681.975 | -1681.975 | 1018.9875 | 0 | 1018.9875 | 0 | 0 | -1681.975 | -1681.975 | EUAB | -218.025
4 | 62537.3263 | Wh | 1 | 99.5% | 706.2839 | 7593.7161 | 924.9195 | 0 | 4.08 | 0 | 0 | 0 | 0 | -928.9995 | 81.9507 | 1018.9875 | 305.6962 | 1732.2787 | 0 | 0 | 81.9507 | 80.3438
5 | 92840.864 | Wh | 2 | 99% | 702.6801 | 7597.3199 | 967.3555 | 0 | 4.1616 | 0 | 0 | 0 | 0 | -971.5171 | 85.3147 | 0 | 519.6836 | 1212.5951 | 0 | 0 | 85.3147 | 82.0018
6 | 115697.2548 | Wh | 3 | 98.51% | 699.0942 | 7600.9058 | 1011.8574 | 0 | 4.2448 | 0 | 0 | 0 | 0 | -1016.1023 | 88.8262 | 0 | 363.7785 | 848.8166 | 0 | 0 | 88.8262 | 83.7029
7 | 120301.3365 | Wh | 4 | 98.01% | 695.5263 | 7604.4737 | 1058.5289 | 0 | 4.3297 | 0 | 0 | 0 | 0 | -1062.8586 | 92.4918 | 0 | 254.645 | 594.1716 | 0 | 0 | 92.4918 | 85.4482
8 | 104169.0169 | Wh | 5 | 97.52% | 691.9763 | 7608.0237 | 1107.4786 | 0 | 4.4163 | 0 | 0 | 0 | 418.1283 | -693.7667 | 514.4468 | 2.2082 | 178.2515 | 418.1283 | 336.1953 | 33.6195 | 480.8273 | 435.5001
9 | 75044.7915 | Wh
10 | 45413.0476 | Wh | 20 Year Analysis
11 | 24466.3897 | Wh | Year | Power |  |  | Cost |  |  |  | Benefits |  |  | Tax and Depreciation | [6 empty] | Net |  | Real IRR | -1.114%
12 | 14392.38 | Wh |  | Solar efficiency | Solar | Grid | Power Cost | Installation | Maintainance | Replacement | Rebate | Buyback | Salvage | Cashflow | Relative Benefit | UCC Change | CCA | Book Val. | Taxable Income | Tax | Net Saved | Net Saved | Nominal IRR | -3.053%
Total | 724.3938 | kWh |  |  | [kWh] | [kWh] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$ nominal] | NPV Savings | -860.1703
|  |  | 0 | 100% | 0 | 0 | 0 | 2037.975 | 4 | 0 | 360 | 0 | 0 | -1681.975 | -1681.975 | 1018.9875 | 0 | 1018.9875 | 0 | 0 | -1681.975 | -1681.975 | EUAB | -187.8221
|  |  | 1 | 99.5% | 706.2839 | 7593.7161 | 924.9195 | 0 | 4.08 | 0 | 0 | 0 | 0 | -928.9995 | 81.9507 | 1018.9875 | 305.6962 | 1732.2787 | 0 | 0 | 81.9507 | 80.3438
|  |  | 2 | 99% | 702.6801 | 7597.3199 | 967.3555 | 0 | 4.1616 | 0 | 0 | 0 | 0 | -971.5171 | 85.3147 | 0 | 519.6836 | 1212.5951 | 0 | 0 | 85.3147 | 82.0018
|  |  | 3 | 98.51% | 699.0942 | 7600.9058 | 1011.8574 | 0 | 4.2448 | 0 | 0 | 0 | 0 | -1016.1023 | 88.8262 | 0 | 363.7785 | 848.8166 | 0 | 0 | 88.8262 | 83.7029
|  |  | 4 | 98.01% | 695.5263 | 7604.4737 | 1058.5289 | 0 | 4.3297 | 0 | 0 | 0 | 0 | -1062.8586 | 92.4918 | 0 | 254.645 | 594.1716 | 0 | 0 | 92.4918 | 85.4482
|  |  | 5 | 97.52% | 691.9763 | 7608.0237 | 1107.4786 | 0 | 4.4163 | 0 | 0 | 0 | 0 | -1111.8949 | 96.3185 | 2.2082 | 178.2515 | 418.1283 | 0 | 0 | 96.3185 | 87.2387
|  |  | 6 | 97.04% | 688.4439 | 7611.5561 | 1158.821 | 0 | 4.5046 | 0 | 0 | 0 | 0 | -1163.3257 | 100.3136 | 2.2523 | 125.4385 | 294.9421 | 0 | 0 | 100.3136 | 89.0756
|  |  | 7 | 96.55% | 684.9293 | 7615.0707 | 1212.6762 | 0 | 4.5947 | 0 | 0 | 0 | 0 | -1217.2709 | 104.4845 | 2.2974 | 88.4826 | 208.7569 | 16.0018 | 1.6002 | 102.8843 | 89.567
|  |  | 8 | 96.07% | 681.4322 | 7618.5678 | 1269.1704 | 0 | 4.6866 | 0 | 0 | 0 | 0 | -1273.8571 | 108.8392 | 2.3433 | 62.6271 | 148.4731 | 46.2121 | 4.6212 | 104.218 | 88.9491
|  |  | 9 | 95.59% | 677.9526 | 7622.0474 | 1328.4364 | 0 | 4.7804 | 0 | 0 | 0 | 0 | -1333.2168 | 113.386 | 2.3902 | 44.5419 | 106.3214 | 68.8441 | 6.8844 | 106.5016 | 89.1158
|  |  | 10 | 95.11% | 674.4904 | 7625.5096 | 1390.6135 | 0 | 4.876 | 942.375 | 0 | 0 | 0 | -2337.8645 | -824.2414 | 471.1875 | 31.8964 | 545.6125 | 0 | 0 | -824.2414 | -676.165
|  |  | 11 | 94.64% | 671.0455 | 7628.9545 | 1455.8483 | 0 | 4.9735 | 0 | 0 | 0 | 0 | -1460.8218 | 123.0911 | 2.4867 | 163.6837 | 384.4155 | 0 | 0 | 123.0911 | 98.9976
|  |  | 12 | 94.16% | 667.6178 | 7632.3822 | 1524.2948 | 0 | 5.073 | 0 | 0 | 0 | 0 | -1529.3677 | 128.2678 | 2.5365 | 115.3246 | 271.6273 | 12.9431 | 1.2943 | 126.9734 | 100.1177
|  |  | 13 | 93.69% | 664.2073 | 7635.7927 | 1596.1147 | 0 | 5.1744 | 0 | 0 | 0 | 0 | -1601.2891 | 133.6736 | 2.5872 | 81.4882 | 192.7263 | 52.1854 | 5.2185 | 128.4551 | 99.2999
|  |  | 14 | 93.22% | 660.8138 | 7639.1862 | 1671.478 | 0 | 5.2779 | 0 | 0 | 0 | 0 | -1676.7559 | 139.319 | 2.639 | 57.8179 | 137.5474 | 81.5011 | 8.1501 | 131.1689 | 99.4096
|  |  | 15 | 92.76% | 657.4373 | 7642.5627 | 1750.5636 | 0 | 5.3835 | 0 | 0 | 0 | 0 | -1755.947 | 145.2147 | 2.6917 | 41.2642 | 98.9749 | 103.9505 | 10.395 | 134.8196 | 100.173
|  |  | 16 | 92.29% | 654.0777 | 7645.9223 | 1833.5591 | 0 | 5.4911 | 0 | 0 | 0 | 0 | -1839.0502 | 151.372 | 2.7456 | 29.6925 | 72.028 | 121.6795 | 12.168 | 139.204 | 101.4026
|  |  | 17 | 91.83% | 650.7349 | 7649.2651 | 1920.6619 | 0 | 5.601 | 0 | 0 | 0 | 0 | -1926.2628 | 157.8028 | 2.8005 | 21.6084 | 53.2201 | 136.1944 | 13.6194 | 144.1833 | 102.9703
|  |  | 18 | 91.37% | 647.4087 | 7652.5913 | 2012.0794 | 0 | 5.713 | 0 | 0 | 0 | 0 | -2017.7924 | 164.5193 | 2.8565 | 15.966 | 40.1106 | 148.5533 | 14.8553 | 149.664 | 104.7886
|  |  | 19 | 90.92% | 644.0993 | 7655.9007 | 2108.0296 | 0 | 5.8272 | 0 | 0 | 0 | 0 | -2113.8569 | 171.5346 | 2.9136 | 12.0332 | 30.991 | 159.5014 | 15.9501 | 155.5845 | 106.798
|  |  | 20 | 90.46% | 640.8063 | 7659.1937 | 2208.7416 | 0 | 5.9438 | 0 | 0 | 0 | 24.6656 | -2190.0198 | 203.5277 | 2.9719 | 9.2973 | 24.6656 | 194.2304 | 19.423 | 184.1046 | 123.8971
40 Year Analysis
|  |  | Year | Power |  |  | Cost |  |  |  | Benefits |  |  | Tax and Depreciation | [6 empty] | Net |  | Real IRR | 5.38%
|  |  |  | Solar efficiency | Solar | Grid | Power Cost | Installation | Maintainance | Replacement | Rebate | Buyback | Salvage | Cashflow | Relative Benefit | UCC Change | CCA | Book Val. | Taxable Income | Tax | Net Saved | Net Saved | Nominal IRR | 3.314%
[5 empty] | [kWh] | [kWh] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$ nominal] | NPV Savings | 108.5054
|  |  | 0 | 100% | 0 | 0 | 0 | 2037.975 | 4 | 0 | 360 | 0 | 0 | -1681.975 | -1681.975 | 1018.9875 | 0 | 1018.9875 | 0 | 0 | -1681.975 | -1681.975 | EUAB | 23.6926
|  |  | 1 | 99.5% | 706.2839 | 7593.7161 | 924.9195 | 0 | 4.08 | 0 | 0 | 0 | 0 | -928.9995 | 81.9507 | 1018.9875 | 305.6962 | 1732.2787 | 0 | 0 | 81.9507 | 80.3438
|  |  | 2 | 99% | 702.6801 | 7597.3199 | 967.3555 | 0 | 4.1616 | 0 | 0 | 0 | 0 | -971.5171 | 85.3147 | 0 | 519.6836 | 1212.5951 | 0 | 0 | 85.3147 | 82.0018
|  |  | 3 | 98.51% | 699.0942 | 7600.9058 | 1011.8574 | 0 | 4.2448 | 0 | 0 | 0 | 0 | -1016.1023 | 88.8262 | 0 | 363.7785 | 848.8166 | 0 | 0 | 88.8262 | 83.7029
|  |  | 4 | 98.01% | 695.5263 | 7604.4737 | 1058.5289 | 0 | 4.3297 | 0 | 0 | 0 | 0 | -1062.8586 | 92.4918 | 0 | 254.645 | 594.1716 | 0 | 0 | 92.4918 | 85.4482
|  |  | 5 | 97.52% | 691.9763 | 7608.0237 | 1107.4786 | 0 | 4.4163 | 0 | 0 | 0 | 0 | -1111.8949 | 96.3185 | 2.2082 | 178.2515 | 418.1283 | 0 | 0 | 96.3185 | 87.2387
|  |  | 6 | 97.04% | 688.4439 | 7611.5561 | 1158.821 | 0 | 4.5046 | 0 | 0 | 0 | 0 | -1163.3257 | 100.3136 | 2.2523 | 125.4385 | 294.9421 | 0 | 0 | 100.3136 | 89.0756
|  |  | 7 | 96.55% | 684.9293 | 7615.0707 | 1212.6762 | 0 | 4.5947 | 0 | 0 | 0 | 0 | -1217.2709 | 104.4845 | 2.2974 | 88.4826 | 208.7569 | 16.0018 | 1.6002 | 102.8843 | 89.567
|  |  | 8 | 96.07% | 681.4322 | 7618.5678 | 1269.1704 | 0 | 4.6866 | 0 | 0 | 0 | 0 | -1273.8571 | 108.8392 | 2.3433 | 62.6271 | 148.4731 | 46.2121 | 4.6212 | 104.218 | 88.9491
|  |  | 9 | 95.59% | 677.9526 | 7622.0474 | 1328.4364 | 0 | 4.7804 | 0 | 0 | 0 | 0 | -1333.2168 | 113.386 | 2.3902 | 44.5419 | 106.3214 | 68.8441 | 6.8844 | 106.5016 | 89.1158
|  |  | 10 | 95.11% | 674.4904 | 7625.5096 | 1390.6135 | 0 | 4.876 | 942.375 | 0 | 0 | 0 | -2332.9885 | -819.3654 | 471.1875 | 31.8964 | 545.6125 | 0 | 0 | -819.3654 | -672.165
|  |  | 11 | 94.64% | 671.0455 | 7628.9545 | 1455.8483 | 0 | 4.9735 | 0 | 0 | 0 | 0 | -1455.8483 | 128.0646 | 471.1875 | 163.6837 | 853.1162 | 0 | 0 | 128.0646 | 102.9976
|  |  | 12 | 94.16% | 667.6178 | 7632.3822 | 1524.2948 | 0 | 5.073 | 0 | 0 | 0 | 0 | -1524.2948 | 133.3407 | 0 | 255.9349 | 597.1814 | 0 | 0 | 133.3407 | 105.1382
|  |  | 13 | 93.69% | 664.2073 | 7635.7927 | 1596.1147 | 0 | 5.1744 | 0 | 0 | 0 | 0 | -1596.1147 | 138.848 | 0 | 179.1544 | 418.0269 | 0 | 0 | 138.848 | 107.3341
|  |  | 14 | 93.22% | 660.8138 | 7639.1862 | 1671.478 | 0 | 5.2779 | 0 | 0 | 0 | 0 | -1671.478 | 144.5969 | 0 | 125.4081 | 292.6189 | 19.1888 | 1.9189 | 142.678 | 108.1321
|  |  | 15 | 92.76% | 657.4373 | 7642.5627 | 1750.5636 | 0 | 5.3835 | 0 | 0 | 0 | 0 | -1750.5636 | 150.5982 | 0 | 87.7857 | 204.8332 | 62.8125 | 6.2812 | 144.3169 | 107.2296
|  |  | 16 | 92.29% | 654.0777 | 7645.9223 | 1833.5591 | 0 | 5.4911 | 0 | 0 | 0 | 0 | -1833.5591 | 156.8631 | 0 | 61.45 | 143.3832 | 95.4132 | 9.5413 | 147.3218 | 107.316
|  |  | 17 | 91.83% | 650.7349 | 7649.2651 | 1920.6619 | 0 | 5.601 | 0 | 0 | 0 | 0 | -1920.6619 | 163.4037 | 0 | 43.015 | 100.3683 | 120.3888 | 12.0389 | 151.3649 | 108.0991
|  |  | 18 | 91.37% | 647.4087 | 7652.5913 | 2012.0794 | 0 | 5.713 | 0 | 0 | 0 | 0 | -2012.0794 | 170.2323 | 0 | 30.1105 | 70.2578 | 140.1218 | 14.0122 | 156.2201 | 109.379
|  |  | 19 | 90.92% | 644.0993 | 7655.9007 | 2108.0296 | 0 | 5.8272 | 0 | 0 | 0 | 0 | -2108.0296 | 177.3618 | 0 | 21.0773 | 49.1805 | 156.2845 | 15.6285 | 161.7334 | 111.0188
|  |  | 20 | 90.46% | 640.8063 | 7659.1937 | 2208.7416 | 0 | 5.9438 | 0 | 0 | 0 | 0 | -2208.7416 | 184.8059 | 0 | 14.7541 | 34.4263 | 170.0517 | 17.0052 | 167.8007 | 112.9251
|  |  | 21 | 90.01% | 637.5299 | 7662.4701 | 2314.4561 | 0 | 6.0627 | 0 | 0 | 0 | 0 | -2314.4561 | 192.5786 | 0 | 10.3279 | 24.0984 | 182.2507 | 18.2251 | 174.3535 | 115.0342
|  |  | 22 | 89.56% | 634.2698 | 7665.7302 | 2425.4262 | 0 | 6.1839 | 0 | 0 | 0 | 0 | -2425.4262 | 200.6947 | 0 | 7.2295 | 16.8689 | 193.4652 | 19.3465 | 181.3482 | 117.3031
|  |  | 23 | 89.11% | 631.026 | 7668.974 | 2541.9177 | 0 | 6.3076 | 0 | 0 | 0 | 0 | -2541.9177 | 209.1698 | 0 | 5.0607 | 11.8082 | 204.1091 | 20.4109 | 188.7589 | 119.7026
|  |  | 24 | 88.67% | 627.7984 | 7672.2016 | 2664.2102 | 0 | 6.4337 | 0 | 0 | 0 | 0 | -2664.2102 | 218.02 | 0 | 3.5425 | 8.2658 | 214.4775 | 21.4478 | 196.5723 | 122.2132
|  |  | 25 | 88.22% | 624.587 | 7675.413 | 2792.5973 | 0 | 6.5624 | 0 | 0 | 0 | 0 | -2792.5973 | 227.2622 | 0 | 2.4797 | 5.786 | 224.7825 | 22.4783 | 204.784 | 124.8222
|  |  | 26 | 87.78% | 621.3916 | 7678.6084 | 2927.3878 | 0 | 6.6937 | 0 | 0 | 0 | 0 | -2927.3878 | 236.9142 | 0 | 1.7358 | 4.0502 | 235.1784 | 23.5178 | 213.3963 | 127.5212
|  |  | 27 | 87.34% | 618.2122 | 7681.7878 | 3068.9061 | 0 | 6.8275 | 0 | 0 | 0 | 0 | -3068.9061 | 246.9943 | 0 | 1.2151 | 2.8352 | 245.7793 | 24.5779 | 222.4164 | 130.3053
|  |  | 28 | 86.91% | 615.0487 | 7684.9513 | 3217.4932 | 0 | 6.9641 | 0 | 0 | 0 | 0 | -3217.4932 | 257.522 | 0 | 0.85055 | 1.9846 | 256.6714 | 25.6671 | 231.8548 | 133.1715
|  |  | 29 | 86.47% | 611.901 | 7688.099 | 3373.5076 | 0 | 7.1034 | 0 | 0 | 0 | 0 | -3373.5076 | 268.5173 | 0 | 0.59538 | 1.3892 | 267.9219 | 26.7922 | 241.7251 | 136.1184
|  |  | 30 | 86.04% | 608.7691 | 7691.2309 | 3537.3259 | 0 | 7.2454 | 942.375 | 0 | 0 | 0 | -4479.7009 | -662.3735 | 471.1875 | 0.41677 | 472.16 | 0 | 0 | -662.3735 | -365.6771
|  |  | 31 | 85.61% | 605.6528 | 7694.3472 | 3709.3441 | 0 | 7.3904 | 0 | 0 | 0 | 0 | -3716.7344 | 284.6062 | 3.6952 | 141.648 | 334.2071 | 142.9582 | 14.2958 | 270.3104 | 146.3044
|  |  | 32 | 85.18% | 602.5521 | 7697.4479 | 3889.9781 | 0 | 7.5382 | 0 | 0 | 0 | 0 | -3897.5163 | 296.9875 | 3.7691 | 100.2621 | 237.7141 | 196.7253 | 19.6725 | 277.3149 | 147.1525
|  |  | 33 | 84.75% | 599.4669 | 7700.5331 | 4079.6655 | 0 | 7.6889 | 0 | 0 | 0 | 0 | -4087.3545 | 309.9238 | 3.8445 | 71.3142 | 170.2443 | 238.6096 | 23.861 | 286.0629 | 148.8181
|  |  | 34 | 84.33% | 596.3971 | 7703.6029 | 4278.8659 | 0 | 7.8427 | 0 | 0 | 0 | 0 | -4286.7086 | 323.4405 | 3.9214 | 51.0733 | 123.0924 | 272.3672 | 27.2367 | 296.2038 | 151.0723
|  |  | 35 | 83.91% | 593.3427 | 7706.6573 | 4488.0624 | 0 | 7.9996 | 0 | 0 | 0 | 0 | -4496.062 | 337.5638 | 3.9998 | 36.9277 | 90.1644 | 300.6361 | 30.0636 | 307.5002 | 153.7586
|  |  | 36 | 83.49% | 590.3035 | 7709.6965 | 4707.7629 | 0 | 8.1595 | 0 | 0 | 0 | 0 | -4715.9224 | 352.3212 | 4.0798 | 27.0493 | 67.1949 | 325.2719 | 32.5272 | 319.794 | 156.7704
|  |  | 37 | 83.07% | 587.2796 | 7712.7204 | 4938.5011 | 0 | 8.3227 | 0 | 0 | 0 | 0 | -4946.8238 | 367.7415 | 4.1614 | 20.1585 | 51.1978 | 347.583 | 34.7583 | 332.9832 | 160.0354
|  |  | 38 | 82.66% | 584.2707 | 7715.7293 | 5180.838 | 0 | 8.4892 | 0 | 0 | 0 | 0 | -5189.3272 | 383.8547 | 4.2446 | 15.3593 | 40.0831 | 368.4954 | 36.8495 | 347.0052 | 163.5044
|  |  | 39 | 82.24% | 581.277 | 7718.723 | 5435.3633 | 0 | 8.659 | 0 | 0 | 0 | 0 | -5444.0223 | 400.6923 | 4.3295 | 12.0249 | 32.3876 | 388.6673 | 38.8667 | 361.8255 | 167.1447
|  |  | 40 | 81.83% | 578.2981 | 7721.7019 | 5702.6968 | 0 | 8.8322 | 0 | 0 | 0 | 27.0874 | -5684.4415 | 445.3744 | 4.4161 | 9.7163 | 27.0874 | 435.6581 | 43.5658 | 401.8086 | 181.9753
Solar Panel Replacement Analysis
|  |  | Defender |  |  |  |  | Challenger
|  |  | Year | Solar efficiency | Loss | Lost energy | Opp. Cost | Lifetime | EAUC
[6 empty] | [kWh] | [$] |  | [$]
|  |  | 0 | 100% | 0% | 0 | 0 | 0 | 0
|  |  | 1 | 99.5% | 0.5% | 3.622 | 0.44116 | 1 | 1000.0412 |  | 45.7706
|  |  | 2 | 99% | 0.9975% | 7.2258 | 0.92005 | 2 | 500.4771 |  | 45.7706
|  |  | 3 | 98.51% | 1.493% | 10.8117 | 1.4393 | 3 | 334.1237 |  | 45.7706
|  |  | 4 | 98.01% | 1.985% | 14.3796 | 2.0016 | 4 | 251.0813 |  | 45.7706
|  |  | 5 | 97.52% | 2.475% | 17.9296 | 2.61 | 5 | 201.3704 |  | 45.7706
|  |  | 6 | 97.04% | 2.963% | 21.462 | 3.2675 | 6 | 168.3313 |  | 45.7706
|  |  | 7 | 96.55% | 3.448% | 24.9766 | 3.9774 | 7 | 144.8245 |  | 45.7706
|  |  | 8 | 96.07% | 3.931% | 28.4737 | 4.7434 | 8 | 127.2802 |  | 45.7706
|  |  | 9 | 95.59% | 4.411% | 31.9533 | 5.5691 | 9 | 113.7157 |  | 45.7706
|  |  | 10 | 95.11% | 4.889% | 35.4155 | 6.4585 | 10 | 102.9413 |  | 45.7706
|  |  | 11 | 94.64% | 5.365% | 38.8604 | 7.4158 | 11 | 94.2003 |  | 45.7706
|  |  | 12 | 94.16% | 5.838% | 42.2881 | 8.4455 | 12 | 86.9882 |  | 45.7706
|  |  | 13 | 93.69% | 6.309% | 45.6986 | 9.5524 | 13 | 80.956 |  | 45.7706
|  |  | 14 | 93.22% | 6.777% | 49.0921 | 10.7415 | 14 | 75.8545 |  | 45.7706
|  |  | 15 | 92.76% | 7.243% | 52.4686 | 12.0182 | 15 | 71.5012 |  | 45.7706
|  |  | 16 | 92.29% | 7.707% | 55.8282 | 13.3881 | 16 | 67.7592 |  | 45.7706
|  |  | 17 | 91.83% | 8.168% | 59.171 | 14.8573 | 17 | 64.5241 |  | 45.7706
|  |  | 18 | 91.37% | 8.628% | 62.4972 | 16.4322 | 18 | 61.7148 |  | 45.7706
|  |  | 19 | 90.92% | 9.084% | 65.8066 | 18.1197 | 19 | 59.2673 |  | 45.7706
|  |  | 20 | 90.46% | 9.539% | 69.0996 | 19.9268 | 20 | 57.1306 |  | 45.7706
|  |  | 21 | 90.01% | 9.991% | 72.376 | 21.8613 | 21 | 55.2636 |  | 45.7706
|  |  | 22 | 89.56% | 10.44% | 75.6361 | 23.9312 | 22 | 53.6327 |  | 45.7706
|  |  | 23 | 89.11% | 10.89% | 78.8799 | 26.1451 | 23 | 52.2103 |  | 45.7706
|  |  | 24 | 88.67% | 11.33% | 82.1075 | 28.5122 | 24 | 50.9734 |  | 45.7706
|  |  | 25 | 88.22% | 11.78% | 85.3189 | 31.0422 | 25 | 49.9031 |  | 45.7706
|  |  | 26 | 87.78% | 12.22% | 88.5143 | 33.7451 | 26 | 48.9833 |  | 45.7706
|  |  | 27 | 87.34% | 12.66% | 91.6937 | 36.632 | 27 | 48.2004 |  | 45.7706
|  |  | 28 | 86.91% | 13.09% | 94.8572 | 39.7143 | 28 | 47.5428 |  | 45.7706
|  |  | 29 | 86.47% | 13.53% | 98.0049 | 43.0042 | 29 | 47.0009 |  | 45.7706
|  |  | 30 | 86.04% | 13.96% | 101.1368 | 46.5145 | 30 | 46.5663 |  | 45.7706
|  |  | 31 | 85.61% | 14.39% | 104.2531 | 50.2591 | 31 | 46.2316 |  | 45.7706
|  |  | 32 | 85.18% | 14.82% | 107.3538 | 54.2523 | 32 | 45.9909 |  | 45.7706
|  |  | 33 | 84.75% | 15.25% | 110.439 | 58.5095 | 33 | 45.8388 |  | 45.7706
|  |  | 34 | 84.33% | 15.67% | 113.5088 | 63.047 | 34 | 45.7706 |  | 45.7706
|  |  | 35 | 83.91% | 16.09% | 116.5632 | 67.882 | 35 | 45.7826 |  | 45.7706
|  |  | 36 | 83.49% | 16.51% | 119.6024 | 73.0326 | 36 | 45.8713 |  | 45.7706
|  |  | 37 | 83.07% | 16.93% | 122.6263 | 78.5184 | 37 | 46.0338 |  | 45.7706
|  |  | 38 | 82.66% | 17.34% | 125.6352 | 84.3595 | 38 | 46.2676 |  | 45.7706
|  |  | 39 | 82.24% | 17.76% | 128.6289 | 90.5778 | 39 | 46.5707 |  | 45.7706
|  |  | 40 | 81.83% | 18.17% | 131.6078 | 97.1961 | 40 | 46.9413 |  | 45.7706
Treating the money saved (compared to doing nothing) as income (relative benefit)
Note on J88: Administrator: This can act as the marginal operating cost

## Analysis (B)
B
One Year Power Estimate |  |  |  |  | 5 Year Analysis
Month | Generated | Consumed | Grid | Excess | Year | Power |  |  | Cost |  |  |  | Benefits |  |  | Cashflow |  | Depreciation 1 |  |  | Depreciation 2 |  |  | Depreciation |  |  |  |  | Net |  | Real IRR | -6.093%
| [kW] | [kW] | [kW] | [kW] |  | Solar efficiency | Grid | Excess | Power Cost | Installation | Maintainance | Replacement | Rebate | Buyback | Salvage | Cashflow | Relative Benefit | +CCA | CCA | UCC | +CCA | CCA | UCC | +CCA | CCA | UCC | Taxable Income | Tax | Net Saved | Net Saved | Nominal IRR | -7.934%
1 | 165.1564 | 751.5701 | 586.4137 | 0 |  |  | [kWh] | [kWh] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$ nominal] | NPV Savings | -3591.0337
2 | 249.8553 | 726.2533 | 476.3981 | 0 | 0 | 100% | 0 | 0 | 0 | 14870 | 50 | 0 | 4500 | 0 | 0 | -10420 | -10420 | 4089.25 | 0 | 4089.25 | 669.15 | 0 | 669.15 | 1040.9 | 0 | 1040.9 | 0 | 0 | -10420 | -10420 | EUAB | -784.1186
3 | 454.1305 | 691.67 | 237.5395 | 0 | 1 | 99.5% | 2498.0418 | 3224.2934 | 304.2631 | 0 | 51 | 0 | 0 | 338.743 |  | -16.5201 | 994.4301 | 4089.25 | 1226.775 | 6951.725 | 669.15 | 66.915 | 1271.385 | 1040.9 | 208.18 | 1873.62 | 0 | 0 | 994.4301 | 974.9314
4 | 781.7166 | 657.0867 | 0 | 124.6299 | 2 | 99% | 2510.4077 | 3208.1719 | 319.6465 | 0 | 52.02 | 0 | 0 | 337.0492 |  | -34.6173 | 1022.2146 | 0 | 2085.5175 | 4866.2075 | 0 | 127.1385 | 1144.2465 | 0 | 374.724 | 1498.896 | 0 | 0 | 1022.2146 | 982.5207
5 | 1160.5108 | 631.7699 | 0 | 528.7409 | 3 | 98.51% | 2522.7118 | 3192.1311 | 335.8316 | 0 | 53.0604 | 0 | 0 | 335.364 |  | -53.5281 | 1051.4004 | 0 | 1459.8623 | 3406.3453 | 0 | 114.4246 | 1029.8219 | 0 | 299.7792 | 1199.1168 | 0 | 0 | 1051.4004 | 990.7581
6 | 1446.2157 | 622.5033 | 0 | 823.7124 | 4 | 98.01% | 2534.9544 | 3176.1704 | 352.861 | 0 | 54.1216 | 0 | 0 | 333.6872 |  | -73.2955 | 1082.055 | 0 | 1021.9036 | 2384.4417 | 0 | 102.9822 | 926.8397 | 0 | 239.8234 | 959.2934 | 0 | 0 | 1082.055 | 999.6515
7 | 1503.7667 | 631.7699 | 0 | 871.9968 | 5 | 97.52% | 2547.1357 | 3160.2896 | 370.7794 | 0 | 55.204 | 0 | 0 | 332.0187 | 3270.6996 | 3176.7349 | 4384.9484 | 0 | 715.3325 | 1669.1092 | 0 | 92.684 | 834.1557 | 0 | 191.8587 | 767.4348 | 3385.0733 | 338.5073 | 4046.4411 | 3664.9864
8 | 1302.1127 | 657.0867 | 0 | 645.026
9 | 938.0599 | 691.67 | 0 | 246.3899 | 20 Year Analysis
10 | 567.6631 | 726.2533 | 158.5902 | 0 | Year | Power |  |  | Cost |  |  |  | Benefits |  |  | Cashflow |  | Depreciation 1 |  |  | Depreciation 2 |  |  | Depreciation |  |  |  |  | Net |  | Real IRR | 7.018%
11 | 305.8299 | 751.5701 | 445.7402 | 0 |  | Solar efficiency | Grid | Excess | Power Cost | Installation | Maintainance | Replacement | Rebate | Buyback | Salvage | Cashflow | Relative Benefit | +CCA | CCA | UCC | +CCA | CCA | UCC | +CCA | CCA | UCC | Taxable Income | Tax | Net Saved | Net Saved | Nominal IRR | 4.92%
12 | 179.9047 | 760.8367 | 580.9319 | 0 |  |  | [kWh] | [kWh] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$ nominal] | NPV Savings | 1994.2636
Total | 9054.9222 | 8300.04 | 2485.6137 | 3240.4959 | 0 | 100% | 0 | 0 | 0 | 14870 | 50 | 0 | 4500 | 0 | 0 | -10420 | -10420 | 4089.25 | 0 | 4089.25 | 669.15 | 0 | 669.15 | 1040.9 | 0 | 1040.9 | 0 | 0 | -10420 | -10420 | EUAB | 435.4566
[5 empty] | 1 | 99.5% | 2498.0418 | 3224.2934 | 304.2631 | 0 | 51 | 0 | 0 | 338.743 | 0 | -16.5201 | 994.4301 | 4089.25 | 1226.775 | 6951.725 | 669.15 | 66.915 | 1271.385 | 1040.9 | 208.18 | 1873.62 | 0 | 0 | 994.4301 | 974.9314
[5 empty] | 2 | 99% | 2510.4077 | 3208.1719 | 319.6465 | 0 | 52.02 | 0 | 0 | 337.0492 | 0 | -34.6173 | 1022.2146 | 0 | 2085.5175 | 4866.2075 | 0 | 127.1385 | 1144.2465 | 0 | 374.724 | 1498.896 | 0 | 0 | 1022.2146 | 982.5207
[5 empty] | 3 | 98.51% | 2522.7118 | 3192.1311 | 335.8316 | 0 | 53.0604 | 0 | 0 | 335.364 | 0 | -53.5281 | 1051.4004 | 0 | 1459.8623 | 3406.3453 | 0 | 114.4246 | 1029.8219 | 0 | 299.7792 | 1199.1168 | 0 | 0 | 1051.4004 | 990.7581
[5 empty] | 4 | 98.01% | 2534.9544 | 3176.1704 | 352.861 | 0 | 54.1216 | 0 | 0 | 333.6872 | 0 | -73.2955 | 1082.055 | 0 | 1021.9036 | 2384.4417 | 0 | 102.9822 | 926.8397 | 0 | 239.8234 | 959.2934 | 0 | 0 | 1082.055 | 999.6515
[5 empty] | 5 | 97.52% | 2547.1357 | 3160.2896 | 370.7794 | 0 | 55.204 | 0 | 0 | 332.0187 | 0 | -93.9647 | 1114.2488 | 0 | 715.3325 | 1669.1092 | 0 | 92.684 | 834.1557 | 0 | 191.8587 | 767.4348 | 114.3736 | 11.4374 | 1102.8114 | 998.8503
[5 empty] | 6 | 97.04% | 2559.2562 | 3144.4881 | 389.6338 | 0 | 56.3081 | 0 | 0 | 330.3586 | 0 | -115.5833 | 1148.0559 | 0 | 500.7328 | 1168.3764 | 0 | 83.4156 | 750.7401 | 0 | 153.487 | 613.9478 | 410.4206 | 41.0421 | 1107.0138 | 982.9966
[5 empty] | 7 | 96.55% | 2571.3161 | 3128.7657 | 409.474 | 0 | 57.4343 | 0 | 0 | 328.7068 | 0 | -138.2015 | 1183.5539 | 0 | 350.5129 | 817.8635 | 0 | 75.074 | 675.6661 | 0 | 122.7896 | 491.1582 | 635.1774 | 63.5177 | 1120.0362 | 975.0589
[5 empty] | 8 | 96.07% | 2583.3156 | 3113.1219 | 430.3522 | 0 | 58.583 | 0 | 0 | 327.0633 | 0 | -161.8719 | 1220.8244 | 0 | 245.359 | 572.5044 | 0 | 67.5666 | 608.0995 | 0 | 98.2316 | 392.9266 | 809.6671 | 80.9667 | 1139.8577 | 972.8575
[5 empty] | 9 | 95.59% | 2595.2552 | 3097.5563 | 452.3235 | 0 | 59.7546 | 0 | 0 | 325.428 | 0 | -186.6502 | 1259.9527 | 0 | 171.7513 | 400.7531 | 0 | 60.81 | 547.2896 | 0 | 78.5853 | 314.3413 | 948.806 | 94.8806 | 1165.072 | 974.8802
[5 empty] | 10 | 95.11% | 2607.135 | 3082.0685 | 475.4459 | 0 | 60.9497 | 5055.8 | 0 | 323.8009 | 0 | -5268.3948 | -3754.7716 | 1487 | 120.2259 | 1767.5272 | 0 | 54.729 | 492.5606 | 1040.9 | 62.8683 | 1292.373 | 0 | 0 | -3754.7716 | -3080.2205
[5 empty] | 11 | 94.64% | 2618.9555 | 3066.6581 | 499.7804 | 0 | 62.1687 | 0 | 0 | 322.1819 | 0 | -239.7673 | 1344.1456 | 1487 | 530.2582 | 2724.269 | 0 | 49.2561 | 443.3045 | 1040.9 | 258.4746 | 2074.7984 | 506.1568 | 50.6157 | 1293.5299 | 1040.3383
[5 empty] | 12 | 94.16% | 2630.7169 | 3051.3248 | 525.3914 | 0 | 63.4121 | 0 | 0 | 320.5709 | 0 | -268.2325 | 1389.403 | 0 | 817.2807 | 1906.9883 | 0 | 44.3305 | 398.9741 | 0 | 414.9597 | 1659.8387 | 112.8321 | 11.2832 | 1378.1197 | 1086.638
[5 empty] | 13 | 93.69% | 2642.4194 | 3036.0682 | 552.3466 | 0 | 64.6803 | 0 | 0 | 318.9681 | 0 | -298.0589 | 1436.9038 | 0 | 572.0965 | 1334.8918 | 0 | 39.8974 | 359.0767 | 0 | 331.9677 | 1327.871 | 492.9422 | 49.2942 | 1387.6096 | 1072.6674
[5 empty] | 14 | 93.22% | 2654.0634 | 3020.8879 | 580.7175 | 0 | 65.9739 | 0 | 0 | 317.3732 | 0 | -329.3181 | 1486.7568 | 0 | 400.4675 | 934.4243 | 0 | 35.9077 | 323.169 | 0 | 265.5742 | 1062.2968 | 784.8074 | 78.4807 | 1408.276 | 1067.2972
[5 empty] | 15 | 92.76% | 2665.6493 | 3005.7834 | 610.579 | 0 | 67.2934 | 0 | 0 | 315.7864 | 0 | -362.0861 | 1539.0756 | 0 | 280.3273 | 654.097 | 0 | 32.3169 | 290.8521 | 0 | 212.4594 | 849.8374 | 1013.9721 | 101.3972 | 1437.6784 | 1068.2163
[5 empty] | 16 | 92.29% | 2677.1772 | 2990.7545 | 642.0105 | 0 | 68.6393 | 0 | 0 | 314.2074 | 0 | -396.4423 | 1593.9799 | 0 | 196.2291 | 457.8679 | 0 | 29.0852 | 261.7669 | 0 | 169.9675 | 679.8699 | 1198.6981 | 119.8698 | 1474.1101 | 1073.8093
[5 empty] | 17 | 91.83% | 2688.6474 | 2975.8007 | 675.0952 | 0 | 70.0121 | 0 | 0 | 312.6364 | 0 | -432.4709 | 1651.5947 | 0 | 137.3604 | 320.5075 | 0 | 26.1767 | 235.5902 | 0 | 135.974 | 543.896 | 1352.0836 | 135.2084 | 1516.3863 | 1082.9463
[5 empty] | 18 | 91.37% | 2700.0603 | 2960.9217 | 709.9211 | 0 | 71.4123 | 0 | 0 | 311.0732 | 0 | -470.2601 | 1712.0516 | 0 | 96.1523 | 224.3553 | 0 | 23.559 | 212.0312 | 0 | 108.7792 | 435.1168 | 1483.5611 | 148.3561 | 1563.6954 | 1094.836
[5 empty] | 19 | 90.92% | 2711.4161 | 2946.1171 | 746.5804 | 0 | 72.8406 | 0 | 0 | 309.5179 | 0 | -509.9031 | 1775.4883 | 0 | 67.3066 | 157.0487 | 0 | 21.2031 | 190.8281 | 0 | 87.0234 | 348.0934 | 1599.9553 | 159.9955 | 1615.4928 | 1108.924
[5 empty] | 20 | 90.46% | 2722.7152 | 2931.3865 | 785.1707 | 0 | 74.2974 | 0 | 0 | 307.9703 | 560.1541 | 8.6563 | 2402.2038 | 0 | 47.1146 | 109.9341 | 0 | 19.0828 | 171.7453 | 0 | 69.6187 | 278.4747 | 2266.3877 | 226.6388 | 2175.565 | 1464.0929
[5 empty] | 40 Year Analysis | [25 empty] | Real IRR | 9.754%
[5 empty] | Year | Power |  |  | Cost |  |  |  | Benefits |  |  | Cashflow |  | Depreciation 1 |  |  | Depreciation 2 |  |  | Depreciation 3 |  |  |  |  | Net |  | Nominal IRR | 7.602%
[6 empty] | Solar efficiency | Grid | Excess | Power Cost | Installation | Maintainance | Replacement | Rebate | Buyback | Salvage | Cashflow | Relative Benefit | +CCA | CCA | UCC | +CCA | CCA | UCC | +CCA | CCA | UCC | Taxable Income | Tax | Net Saved | Net Saved | NPV Savings | 10363.5803
[7 empty] | [kWh] | [kWh] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$] | [$ nominal] | EUAB | 2262.9351
[5 empty] | 0 | 100% | 0 | 0 | 0 | 14870 | 50 | 0 | 4500 | 0 | 0 | -10420 | -10420 | 4089.25 | 0 | 4089.25 | 669.15 | 0 | 669.15 | 1040.9 | 0 | 1040.9 | 0 | 0 | -10420 | -10420
[5 empty] | 1 | 99.5% | 2498.0418 | 3224.2934 | 304.2631 | 0 | 51 | 0 | 0 | 338.743 | 0 | -16.5201 | 994.4301 | 4089.25 | 1226.775 | 6951.725 | 669.15 | 66.915 | 1271.385 | 1040.9 | 208.18 | 1873.62 | 0 | 0 | 994.4301 | 974.9314
[5 empty] | 2 | 99% | 2510.4077 | 3208.1719 | 319.6465 | 0 | 52.02 | 0 | 0 | 337.0492 | 0 | -34.6173 | 1022.2146 | 0 | 2085.5175 | 4866.2075 | 0 | 127.1385 | 1144.2465 | 0 | 374.724 | 1498.896 | 0 | 0 | 1022.2146 | 982.5207
[5 empty] | 3 | 98.51% | 2522.7118 | 3192.1311 | 335.8316 | 0 | 53.0604 | 0 | 0 | 335.364 | 0 | -53.5281 | 1051.4004 | 0 | 1459.8623 | 3406.3453 | 0 | 114.4246 | 1029.8219 | 0 | 299.7792 | 1199.1168 | 0 | 0 | 1051.4004 | 990.7581
[5 empty] | 4 | 98.01% | 2534.9544 | 3176.1704 | 352.861 | 0 | 54.1216 | 0 | 0 | 333.6872 | 0 | -73.2955 | 1082.055 | 0 | 1021.9036 | 2384.4417 | 0 | 102.9822 | 926.8397 | 0 | 239.8234 | 959.2934 | 0 | 0 | 1082.055 | 999.6515
[5 empty] | 5 | 97.52% | 2547.1357 | 3160.2896 | 370.7794 | 0 | 55.204 | 0 | 0 | 332.0187 | 0 | -93.9647 | 1114.2488 | 0 | 715.3325 | 1669.1092 | 0 | 92.684 | 834.1557 | 0 | 191.8587 | 767.4348 | 114.3736 | 11.4374 | 1102.8114 | 998.8503
[5 empty] | 6 | 97.04% | 2559.2562 | 3144.4881 | 389.6338 | 0 | 56.3081 | 0 | 0 | 330.3586 | 0 | -115.5833 | 1148.0559 | 0 | 500.7328 | 1168.3764 | 0 | 83.4156 | 750.7401 | 0 | 153.487 | 613.9478 | 410.4206 | 41.0421 | 1107.0138 | 982.9966
[5 empty] | 7 | 96.55% | 2571.3161 | 3128.7657 | 409.474 | 0 | 57.4343 | 0 | 0 | 328.7068 | 0 | -138.2015 | 1183.5539 | 0 | 350.5129 | 817.8635 | 0 | 75.074 | 675.6661 | 0 | 122.7896 | 491.1582 | 635.1774 | 63.5177 | 1120.0362 | 975.0589
[5 empty] | 8 | 96.07% | 2583.3156 | 3113.1219 | 430.3522 | 0 | 58.583 | 0 | 0 | 327.0633 | 0 | -161.8719 | 1220.8244 | 0 | 245.359 | 572.5044 | 0 | 67.5666 | 608.0995 | 0 | 98.2316 | 392.9266 | 809.6671 | 80.9667 | 1139.8577 | 972.8575
[5 empty] | 9 | 95.59% | 2595.2552 | 3097.5563 | 452.3235 | 0 | 59.7546 | 0 | 0 | 325.428 | 0 | -186.6502 | 1259.9527 | 0 | 171.7513 | 400.7531 | 0 | 60.81 | 547.2896 | 0 | 78.5853 | 314.3413 | 948.806 | 94.8806 | 1165.072 | 974.8802
[5 empty] | 10 | 95.11% | 2607.135 | 3082.0685 | 475.4459 | 0 | 60.9497 | 5055.8 | 0 | 323.8009 | 0 | -5268.3948 | -3754.7716 | 1487 | 120.2259 | 1767.5272 | 0 | 54.729 | 492.5606 | 1040.9 | 62.8683 | 1292.373 | 0 | 0 | -3754.7716 | -3080.2205
[5 empty] | 11 | 94.64% | 2618.9555 | 3066.6581 | 499.7804 | 0 | 62.1687 | 0 | 0 | 322.1819 | 0 | -239.7673 | 1344.1456 | 1487 | 530.2582 | 2724.269 | 0 | 49.2561 | 443.3045 | 1040.9 | 258.4746 | 2074.7984 | 506.1568 | 50.6157 | 1293.5299 | 1040.3383
[5 empty] | 12 | 94.16% | 2630.7169 | 3051.3248 | 525.3914 | 0 | 63.4121 | 0 | 0 | 320.5709 | 0 | -268.2325 | 1389.403 | 0 | 817.2807 | 1906.9883 | 0 | 44.3305 | 398.9741 | 0 | 414.9597 | 1659.8387 | 112.8321 | 11.2832 | 1378.1197 | 1086.638
[5 empty] | 13 | 93.69% | 2642.4194 | 3036.0682 | 552.3466 | 0 | 64.6803 | 0 | 0 | 318.9681 | 0 | -298.0589 | 1436.9038 | 0 | 572.0965 | 1334.8918 | 0 | 39.8974 | 359.0767 | 0 | 331.9677 | 1327.871 | 492.9422 | 49.2942 | 1387.6096 | 1072.6674
[5 empty] | 14 | 93.22% | 2654.0634 | 3020.8879 | 580.7175 | 0 | 65.9739 | 0 | 0 | 317.3732 | 0 | -329.3181 | 1486.7568 | 0 | 400.4675 | 934.4243 | 0 | 35.9077 | 323.169 | 0 | 265.5742 | 1062.2968 | 784.8074 | 78.4807 | 1408.276 | 1067.2972
[5 empty] | 15 | 92.76% | 2665.6493 | 3005.7834 | 610.579 | 0 | 67.2934 | 0 | 0 | 315.7864 | 0 | -362.0861 | 1539.0756 | 0 | 280.3273 | 654.097 | 0 | 32.3169 | 290.8521 | 0 | 212.4594 | 849.8374 | 1013.9721 | 101.3972 | 1437.6784 | 1068.2163
[5 empty] | 16 | 92.29% | 2677.1772 | 2990.7545 | 642.0105 | 0 | 68.6393 | 0 | 0 | 314.2074 | 0 | -396.4423 | 1593.9799 | 0 | 196.2291 | 457.8679 | 0 | 29.0852 | 261.7669 | 0 | 169.9675 | 679.8699 | 1198.6981 | 119.8698 | 1474.1101 | 1073.8093
[5 empty] | 17 | 91.83% | 2688.6474 | 2975.8007 | 675.0952 | 0 | 70.0121 | 0 | 0 | 312.6364 | 0 | -432.4709 | 1651.5947 | 0 | 137.3604 | 320.5075 | 0 | 26.1767 | 235.5902 | 0 | 135.974 | 543.896 | 1352.0836 | 135.2084 | 1516.3863 | 1082.9463
[5 empty] | 18 | 91.37% | 2700.0603 | 2960.9217 | 709.9211 | 0 | 71.4123 | 0 | 0 | 311.0732 | 0 | -470.2601 | 1712.0516 | 0 | 96.1523 | 224.3553 | 0 | 23.559 | 212.0312 | 0 | 108.7792 | 435.1168 | 1483.5611 | 148.3561 | 1563.6954 | 1094.836
[5 empty] | 19 | 90.92% | 2711.4161 | 2946.1171 | 746.5804 | 0 | 72.8406 | 0 | 0 | 309.5179 | 0 | -509.9031 | 1775.4883 | 0 | 67.3066 | 157.0487 | 0 | 21.2031 | 190.8281 | 0 | 87.0234 | 348.0934 | 1599.9553 | 159.9955 | 1615.4928 | 1108.924
[5 empty] | 20 | 90.46% | 2722.7152 | 2931.3865 | 785.1707 | 0 | 74.2974 | 5055.8 | 0 | 307.9703 | 0 | -5607.2978 | -3213.7503 | 1487 | 47.1146 | 1596.9341 | 0 | 19.0828 | 171.7453 | 1040.9 | 69.6187 | 1319.3747 | 0 | 0 | -3213.7503 | -2162.7618
[5 empty] | 21 | 90.01% | 2733.9578 | 2916.7296 | 825.7944 | 0 | 75.7833 | 0 | 0 | 306.4304 | 0 | -595.1473 | 1911.8873 | 1487 | 479.0802 | 2604.8539 | 1 | 17.1745 | 155.5707 | 1040.9 | 263.8749 | 2096.3998 | 1151.7576 | 115.1758 | 1796.7116 | 1185.4268
[5 empty] | 22 | 89.56% | 2745.1441 | 2902.146 | 868.5597 | 0 | 77.299 | 0 | 0 | 304.8983 | 0 | -640.9604 | 1985.1605 | 0 | 781.4562 | 1823.3977 | 2 | 15.5571 | 142.0137 | 0 | 419.28 | 1677.1198 | 768.8673 | 76.8867 | 1908.2737 | 1234.3459
[5 empty] | 23 | 89.11% | 2756.2745 | 2887.6352 | 913.5802 | 0 | 78.845 | 0 | 0 | 303.3738 | 0 | -689.0514 | 2062.0361 | 0 | 547.0193 | 1276.3784 | 3 | 14.2014 | 130.8123 | 0 | 335.424 | 1341.6959 | 1165.3914 | 116.5391 | 1945.4969 | 1233.7484
[5 empty] | 24 | 88.67% | 2767.3493 | 2873.1971 | 960.9758 | 0 | 80.4219 | 0 | 0 | 301.8569 | 0 | -739.5408 | 2142.6894 | 0 | 382.9135 | 893.4649 | 4 | 13.0812 | 121.7311 | 0 | 268.3392 | 1073.3567 | 1478.3555 | 147.8355 | 1994.8539 | 1240.2435
[5 empty] | 25 | 88.22% | 2778.3687 | 2858.8311 | 1010.8726 | 0 | 82.0303 | 0 | 0 | 300.3476 | 0 | -792.5553 | 2227.3042 | 0 | 268.0395 | 625.4254 | 5 | 12.1731 | 114.558 | 0 | 214.6713 | 858.6854 | 1732.4203 | 173.242 | 2054.0622 | 1252.0143
[5 empty] | 26 | 87.78% | 2789.333 | 2844.5369 | 1063.4035 | 0 | 83.6709 | 0 | 0 | 298.8459 | 0 | -848.2285 | 2316.0734 | 0 | 187.6276 | 437.7978 | 6 | 11.4558 | 109.1022 | 0 | 171.7371 | 686.9483 | 1945.2529 | 194.5253 | 2121.5481 | 1267.7932
[5 empty] | 27 | 87.34% | 2800.2424 | 2830.3142 | 1118.7085 | 0 | 85.3443 | 0 | 0 | 297.3517 | 0 | -906.7011 | 2409.1993 | 0 | 131.3393 | 306.4585 | 7 | 10.9102 | 105.1919 | 0 | 137.3897 | 549.5586 | 2129.5601 | 212.956 | 2196.2433 | 1286.6956
[5 empty] | 28 | 86.91% | 2811.0974 | 2816.1627 | 1176.9348 | 0 | 87.0512 | 0 | 0 | 295.8649 | 0 | -968.1211 | 2506.8941 | 0 | 91.9375 | 214.5209 | 8 | 10.5192 | 102.6728 | 0 | 109.9117 | 439.6469 | 2294.5256 | 229.4526 | 2277.4415 | 1308.1044
[5 empty] | 29 | 86.47% | 2821.898 | 2802.0818 | 1238.2378 | 0 | 88.7922 | 0 | 0 | 294.3856 | 0 | -1032.6444 | 2609.3805 | 0 | 64.3563 | 150.1646 | 9 | 10.2673 | 101.4055 | 0 | 87.9294 | 351.7175 | 2446.8276 | 244.6828 | 2364.6978 | 1331.5904
[5 empty] | 30 | 86.04% | 2832.6447 | 2788.0714 | 1302.7807 | 0 | 90.5681 | 5055.8 | 0 | 292.9136 | 0 | -6156.2352 | -2338.9077 | 1487 | 45.0494 | 1592.1152 | 10 | 10.1405 | 101.2649 | 1040.9 | 70.3435 | 1322.274 | 0 | 0 | -2338.9077 | -1291.2429
[5 empty] | 31 | 85.61% | 2843.3376 | 2774.1311 | 1370.7358 | 0 | 92.3794 | 0 | 0 | 291.4491 | 0 | -1171.6662 | 2829.6744 | 1487 | 477.6346 | 2601.4807 | 11 | 10.1265 | 102.1384 | 1040.9 | 264.4548 | 2098.7192 | 2077.4586 | 207.7459 | 2621.9286 | 1419.1083
[5 empty] | 32 | 85.18% | 2853.977 | 2760.2604 | 1442.2843 | 0 | 94.227 | 0 | 0 | 289.9918 | 0 | -1246.5195 | 2947.9843 | 0 | 780.4442 | 1821.0365 | 12 | 10.2138 | 103.9246 | 0 | 419.7438 | 1678.9754 | 1737.5824 | 173.7582 | 2774.226 | 1472.0967
[5 empty] | 33 | 84.75% | 2864.5633 | 2746.4591 | 1517.617 | 0 | 96.1116 | 0 | 0 | 288.5419 | 0 | -1325.1867 | 3072.0916 | 0 | 546.3109 | 1274.7255 | 13 | 10.3925 | 106.5321 | 0 | 335.7951 | 1343.1803 | 2179.5931 | 217.9593 | 2854.1323 | 1484.8016
[5 empty] | 34 | 84.33% | 2875.0966 | 2732.7268 | 1596.935 | 0 | 98.0338 | 0 | 0 | 287.0992 | 0 | -1407.8696 | 3202.2795 | 0 | 382.4177 | 892.3079 | 14 | 10.6532 | 109.8789 | 0 | 268.6361 | 1074.5442 | 2540.5726 | 254.0573 | 2948.2223 | 1503.6764
[5 empty] | 35 | 83.91% | 2885.5773 | 2719.0632 | 1680.4498 | 0 | 99.9945 | 0 | 0 | 285.6637 | 0 | -1494.7806 | 3338.8452 | 0 | 267.6924 | 624.6155 | 15 | 10.9879 | 113.891 | 0 | 214.9088 | 859.6354 | 2845.2561 | 284.5256 | 3054.3196 | 1527.2441
[5 empty] | 36 | 83.49% | 2896.0055 | 2705.4679 | 1768.3844 | 0 | 101.9944 | 0 | 0 | 284.2354 | 0 | -1586.1435 | 3482.1002 | 0 | 187.3847 | 437.2309 | 16 | 11.3891 | 118.5019 | 0 | 171.9271 | 687.7083 | 3111.3994 | 311.1399 | 3170.9603 | 1554.4781
[5 empty] | 37 | 83.07% | 2906.3816 | 2691.9405 | 1860.9736 | 0 | 104.0343 | 0 | 0 | 282.8142 | 0 | -1682.1936 | 3632.3717 | 0 | 131.1693 | 306.0616 | 17 | 11.8502 | 123.6517 | 0 | 137.5417 | 550.1666 | 3351.8106 | 335.1811 | 3297.1906 | 1584.6659
[5 empty] | 38 | 82.66% | 2916.7058 | 2678.4808 | 1958.4643 | 0 | 106.1149 | 0 | 0 | 281.4001 | 0 | -1783.1792 | 3790.0027 | 0 | 91.8185 | 214.2431 | 18 | 12.3652 | 129.2866 | 0 | 110.0333 | 440.1333 | 3575.7858 | 357.5786 | 3432.4242 | 1617.3143
[5 empty] | 39 | 82.24% | 2926.9785 | 2665.0884 | 2061.117 | 0 | 108.2372 | 0 | 0 | 279.9931 | 0 | -1889.3611 | 3955.3534 | 0 | 64.2729 | 149.9702 | 19 | 12.9287 | 135.3579 | 0 | 88.0267 | 352.1067 | 3790.1251 | 379.0125 | 3576.3409 | 1652.0843
[5 empty] | 40 | 81.83% | 2937.1997 | 2651.763 | 2169.2056 | 0 | 110.402 | 0 | 0 | 278.5931 | 528.4866 | -1472.5279 | 4657.288 | 0 | 44.9911 | 104.9791 | 20 | 13.5358 | 141.8221 | 0 | 70.4213 | 281.6853 | 4528.3398 | 452.834 | 4204.454 | 1904.1569
Solar Panel Replacement Analysis
[5 empty] | Defender |  |  |  |  | Challenger
[5 empty] | Year | Solar efficiency | Loss | Lost energy | Opp. Cost | Lifetime | EAUC
[8 empty] | [kWh] | [$] |  | [$]
[5 empty] | 0 | 100% | 0% | 0 | 0 | 0 | 0
[5 empty] | 1 | 99.5% | 0.5% | 45.2746 | 5.5145 | 1 | 14919.1589 | 647.2315
[5 empty] | 2 | 99% | 0.9975% | 90.3228 | 11.5007 | 2 | 7505.6992 | 647.2315
[5 empty] | 3 | 98.51% | 1.493% | 135.1458 | 17.9911 | 3 | 5047.0881 | 647.2315
[5 empty] | 4 | 98.01% | 1.985% | 179.7447 | 25.0201 | 4 | 3825.9668 | 647.2315
[5 empty] | 5 | 97.52% | 2.475% | 224.1206 | 32.6246 | 5 | 3098.9663 | 647.2315
[5 empty] | 6 | 97.04% | 2.963% | 268.2746 | 40.8435 | 6 | 2618.3744 | 647.2315
[5 empty] | 7 | 96.55% | 3.448% | 312.2079 | 49.7181 | 7 | 2278.0888 | 647.2315
[5 empty] | 8 | 96.07% | 3.931% | 355.9214 | 59.2926 | 8 | 2025.106 | 647.2315
[5 empty] | 9 | 95.59% | 4.411% | 399.4164 | 69.6138 | 9 | 1830.0178 | 647.2315
[5 empty] | 10 | 95.11% | 4.889% | 442.694 | 80.7312 | 10 | 1675.2104 | 647.2315
[5 empty] | 11 | 94.64% | 5.365% | 485.7551 | 92.6976 | 11 | 1549.5005 | 647.2315
[5 empty] | 12 | 94.16% | 5.838% | 528.6009 | 105.5691 | 12 | 1445.4538 | 647.2315
[5 empty] | 13 | 93.69% | 6.309% | 571.2325 | 119.4051 | 13 | 1357.9407 | 647.2315
[5 empty] | 14 | 93.22% | 6.777% | 613.651 | 134.2688 | 14 | 1283.3122 | 647.2315
[5 empty] | 15 | 92.76% | 7.243% | 655.8574 | 150.2271 | 15 | 1218.9043 | 647.2315
[5 empty] | 16 | 92.29% | 7.707% | 697.8527 | 167.3512 | 16 | 1162.7297 | 647.2315
[5 empty] | 17 | 91.83% | 8.168% | 739.638 | 185.7165 | 17 | 1113.2772 | 647.2315
[5 empty] | 18 | 91.37% | 8.628% | 781.2144 | 205.403 | 18 | 1069.3787 | 647.2315
[5 empty] | 19 | 90.92% | 9.084% | 822.583 | 226.4958 | 19 | 1030.1185 | 647.2315
[5 empty] | 20 | 90.46% | 9.539% | 863.7447 | 249.0848 | 20 | 994.7693 | 647.2315
[5 empty] | 21 | 90.01% | 9.991% | 904.7006 | 273.2656 | 21 | 962.7467 | 647.2315
[5 empty] | 22 | 89.56% | 10.44% | 945.4517 | 299.1396 | 22 | 933.5764 | 647.2315
[5 empty] | 23 | 89.11% | 10.89% | 985.999 | 326.814 | 23 | 906.87 | 647.2315
[5 empty] | 24 | 88.67% | 11.33% | 1026.3436 | 356.4029 | 24 | 882.3064 | 647.2315
[5 empty] | 25 | 88.22% | 11.78% | 1066.4865 | 388.027 | 25 | 859.6182 | 647.2315
[5 empty] | 26 | 87.78% | 12.22% | 1106.4287 | 421.8142 | 26 | 838.5813 | 647.2315
[5 empty] | 27 | 87.34% | 12.66% | 1146.1712 | 457.9001 | 27 | 819.0063 | 647.2315
[5 empty] | 28 | 86.91% | 13.09% | 1185.7149 | 496.4286 | 28 | 800.7325 | 647.2315
[5 empty] | 29 | 86.47% | 13.53% | 1225.061 | 537.5519 | 29 | 783.6222 | 647.2315
[5 empty] | 30 | 86.04% | 13.96% | 1264.2103 | 581.4315 | 30 | 767.5573 | 647.2315
[5 empty] | 31 | 85.61% | 14.39% | 1303.1638 | 628.2382 | 31 | 752.4359 | 647.2315
[5 empty] | 32 | 85.18% | 14.82% | 1341.9226 | 678.1533 | 32 | 738.1693 | 647.2315
[5 empty] | 33 | 84.75% | 15.25% | 1380.4876 | 731.3686 | 33 | 724.6802 | 647.2315
[5 empty] | 34 | 84.33% | 15.67% | 1418.8598 | 788.0872 | 34 | 711.901 | 647.2315
[5 empty] | 35 | 83.91% | 16.09% | 1457.0401 | 848.5244 | 35 | 699.772 | 647.2315
[5 empty] | 36 | 83.49% | 16.51% | 1495.0295 | 912.9081 | 36 | 688.2407 | 647.2315
[5 empty] | 37 | 83.07% | 16.93% | 1532.829 | 981.4796 | 37 | 677.2604 | 647.2315
[5 empty] | 38 | 82.66% | 17.34% | 1570.4395 | 1054.4943 | 38 | 666.7896 | 647.2315
[5 empty] | 39 | 82.24% | 17.76% | 1607.8619 | 1132.2227 | 39 | 656.791 | 647.2315
[5 empty] | 40 | 81.83% | 18.17% | 1645.0972 | 1214.9511 | 40 | 647.2315 | 647.2315
Note on L88: Administrator: This can act as the marginal operating cost

## Sources
Information
MicroFIT | http://www.ieso.ca/get-involved/microfit/news-overview
for generating over 10kW of energy
https://kubyenergy.ca/blog/the-cost-of-solar-panels
City of edmonton rebate
https://kubyenergy.ca/blog/edmonton-solar-power-rebate
Alberta rebate
https://kubyenergy.ca/blog/alberta-residential-and-commercial-solar-power-rebate
Change for climate resources
https://www.edmonton.ca/city_government/documents/PDF/HomeGuide-web.pdf
http://ace.edmonton.ca/energuide/guides/
https://changeforclimate.ca/programs
https://www.edmonton.ca/city_government/environmental_stewardship/solar-energy.aspx
https://www.edmonton.ca/city_government/documents/PDF/TinyExplanation-SolarInEdm.pdf
Source of capital
| https://kubyenergy.ca/how-much-do-solar-panels-cost | Options: cash or loan
Solar cost and efficiency over time
| https://news.energysage.com/solar-panel-efficiency-cost-over-time/ |  | 2018 | 2008 | growth rate
| https://en.wikipedia.org/wiki/Solar_cell_efficiency |  | 35.5% | 32% | 1.16%
| Solar price index |  | 2018 | 35.5%
| https://www.pv-magazine.com/features/investors/module-price-index/ |  | 2028 | 39.84%
|  |  | 2038 | 44.71%
|  |  | 2048 | 50.18%
|  |  | 2058 | 56.31% | <- eff in 2058

## Capital
Analyizes which loan option is the best
Using option B with 40 year analysis period as reference